## Tier 1
State of Oklahoma
Maintenance, Repair, and Operations (MRO) | [14 empty] | Click on the plus (+) or minus (-) button above to show or hide additional product level info. | [8 empty] | Click on the plus (+) or minus (-) button above to show or hide additional product level info. | [8 empty] | Click on the plus (+) or minus (-) button above to show or hide additional product level info. | [7 empty] | Click on the plus (+) or minus (-) button above to show or hide additional product level info. | [7 empty] | Click on the plus (+) or minus (-) button above to show or hide additional product level info.
SW 10817
HVAC
updated July 2014
| TIER 1 (Fixed Price Products) | [5 empty] | CONTRACTED PRODUCTS | [26 empty] | FUNCTIONAL EQUIVALENTS
[7 empty] | FASTENAL | [8 empty] | GRAINGER | [8 empty] | MSC | [8 empty] | FASTENAL | [7 empty] | MSC
| Ref # | Historical Vendor | Vendor Part # | Manufacturer | Manufacturer Part Number | Product Description | Your Part Number | Manufacturer | Manufacturer Part Number | Product Description | UOM | Qty Per UOM | List Price | Contract Price | Contract Price (Adjusted UOM) | Your Part Number | Manufacturer | Manufacturer Part Number | Product Description | UOM | Qty Per UOM | List Price | Contract Price | Contract Price (Adjusted UOM) | Your Part Number | Manufacturer | Manufacturer Part Number | Product Description | UOM | Qty Per UOM | List Price | Contract Price | Contract Price (Adjusted UOM) | Your Part Number | Manufacturer | Manufacturer Part Number | Product Description | UOM | Qty Per UOM | List Price | Contract Price | Your Part Number | Manufacturer | Manufacturer Part Number | Product Description | UOM | Qty Per UOM | List Price | Contract Price
| EA1 | Grainger | 40048485 | RD AKINS | 30RB-10054-5-3 | AIR COOLED ROTARY SCROLL CHILLER 100 TON
| EA2 | Grainger | 2W198 | FORANE | R-22 | Refrigerant,30 Lb | [18 empty] | 64344260 | REFRIGERATION SUPPLIES DIST. | R-22 | R-22 REFRIGERANT 30LB COPELAND BRAND PRODUCTQIA | 0 | 0 | 483.57 | 360 | 360
| EA3 | Grainger | 40401716 | INGERSOLL RAND | P185WJD | AIR COMPRESSOR | [18 empty] | 85513059 | INGERSOLL-RAND CO.(COMPRESSOR) | P185WJD | P185 WJD AIR COMPRESS PNEUMATIC EQUIPMENT QIA | 0 | 0 | 0 | 11419.99 | 11419.99
| EA4 | Grainger | 1VXJ2 | FRIEDRICH | PDE09K3S | PTAC,9200/9000 BtuH,230/208 V,11.3 EER | [9 empty] | 1VXJ2 | FRIEDRICH | PDE09K3S | PTAC,9200/9000 BtuH,230/208 V,11.3 EER | EA | 1 |  |  |  | 83215533 | FRIEDRICH AIR CONDITIONING | PDE09K3SC | ELEC HEAT 9200 BT 230V AIR CONDITIONING PTAC QIA | 0 | 0 | 890.92 | 641.8824 | 641.8824 | [8 empty] | 6443477 | CLORE AUTOMOTIVE(CENTURY MFG) | ES2500KE | Booster Pac Type: Booster Pacs Amperage Rating: 17 Starter Amperage: 250/900 Voltage: 12 | Each | 1 | 180.34 | 91.2118
| EA5 | Grainger | 1CFA4 | FRIEDRICH | PDH12K3S | PTHP,12.0/11.8 MBtuH,230/208 V,10.5 EER | [9 empty] | 1CFA4 | FRIEDRICH | PDH12K3S | PTHP,12.0/11.8 MBtuH,230/208 V,10.5 EER | EA | 1 | 1097 | 516.77 |  | 70890231 | FRIEDRICH AIR CONDITIONING | PDH12K3S | PKGD TERM HT PMP COOLG BTU-H 12,000/11800 QIA | 0 | 0 | 1037.75 | 747.6706 | 747.6706
| EA6 | Grainger | 3VB97 | FRIEDRICH | WE10 | Through The Wall A/C | [9 empty] | 3VB97 | FRIEDRICH | WE10 | Through The Wall A/C | EA | 1 |  |  |  | 84557339 | HAIER AMERICA | ESA3067 | Room Air Conditioners - Cooling Only Type: Window (Cooling Only) BTU Rating: 6000 AMP Rating: 5.5 Wattage: 560 Voltage: 115 Width: 18-1/2 Height: 12-7/16 Depth: 15-1/2 | Piece | 2
| EA7 | Grainger | 4WT32 | PORT-A-COOL | PAC2K363S | Evaporative Fan,36 In | 0209215 | PORT-A-COOL | PAC2K363S | 36" 3 Speed Port-A-Cool unit, 110 volts, cools 2,500 sq. ft | Each | 1 | 2540.1 | 2320.3865 | 2320.3865 | 4WT32 | PORT-A-COOL | PAC2K363S | Evaporative Fan,36 In | EA | 1 | 3315 | 1759.74 | 1759.74 | 2016483 | PORT A COOL LLC | PAC2K363S | Portable Evaporative Cooling Units Blade Size: 36 Cubic Feet per Minute: 4800/6600/9600 Horsepower: 1/2 Number of Speeds: 3 | Each | 1 | 2822.95 | 1443.29 | 1443.29
| EA8 | Grainger | 40261440 | STERLING | GG105 | UNIT HEATER, LP/NG
| EA9 | Grainger | 1VK49 | MOVINCOOL | OFFICE PRO 60 | A/C,Portable,59500btuh | [9 empty] | 13P661 | MOVINCOOL | OFFICE PRO 60 | A/C,Portable,59500btuh | EA | 1 | 15100 | 8868.29 | 8868.29 | 32146847 | USA | 0 | Portable Air Conditioners Type: Portable - Office Pro 60 BTU Rating: 59500 AMP Rating: 33.0 Wattage: 7100 Voltage: 208/230 Width: 30 Height: 64 Depth: 52 | Each | 1 | 11909.83 | 6925 | 6925
| EA10 | Grainger | 4CE80 | FRIGIDAIRE | FAH12E | A/C,Electric Heat Wall | [9 empty] | 4CE80 | FRIGIDAIRE | FAH12E | A/C,Electric Heat Wall | EA | 1 |  |  |  | 84557313 | HAIER AMERICA | HWS18VH6 | Heat/Cool Units - Electric Strip Heat Type: Window (Cool & Heat) BTU Rating: 18000 AMP Rating: 8.0 Wattage: 1850 Voltage: 208/230 Width: 27-3/4 Height: 17-15/16 Depth: 33-5/32 | Each | 1 | 833.96 | 475.0251 | 475.0251
| EA11 | Grainger | 4LX56 | DAYTON | 4LX56 | Heater,Gas Unit | [9 empty] | 4LX56 | DAYTON | 4LX56 | Heater,Gas Unit | EA | 1 | 1180 | 649.75 | 649.75 | 5762034 | STERLING DIV OF MESTEK INC | BTU150N | Gas Fired Power Vented Unit Heaters Type: Tubular Input BTU/HR: 150000 Output BTU/Hr: 121500 Cubic Feet per Minute: 2400 Motor RPM: 1140 Motor Horsepower: 1/4 Fan Diameter: 16 Height: 33-3/4 | Each | 1 | 1124.46 | 836.9844 | 836.9844
| EA12 | Grainger | 1NTG2 | FRIEDRICH | M24DYF | Heat Pump,Ductless Split Sys,24 MBtuH | [18 empty] | 84450337 | FRIEDRICH AIR CONDITIONING | M24DYF | M24DYF,DUAL ZONE SYS AIR TREATMENT QIA | 0 | 0 | 3874.02 | 2953.8235 | 2953.8235
| EA13 | Grainger | 40193827 | RB AKINS | CVK-3 | 3 INCH CONCENTRIC VENT
| EA14 | Grainger | 2W199 | FORANE | R-22 | Refrigerant,50 Lb
| EA15 | Grainger | 1AYX8 | DAYTON | 1AYX8 | Pkg Rooftop A/C,5.0 Ton,87K Heat,1 Ph | [9 empty] | 1AYX8 | DAYTON | 1AYX8 | Pkg Rooftop A/C,5.0 Ton,87K Heat,1 Ph | EA | 1
| EA16 | Grainger | 6E862 | FORANE | R-404A | Refrigerant,24 Lb
| EA17 | Grainger | 4L991 | INGERSOLL-RAND | 2475F12.5G | Compressor,Gas Driven | 0256084 | INGERSOLL-RAND CO.TOOL+HOISTDI | 0256084 | 30Gal 12.5HP Gas KOHLER 2Stage Horizontal Tank AirCompressor | Each | 1 | 2995.65 | 2356.2011 | 2356.2011 | 4L991 | INGERSOLL-RAND | 2475F12.5G | Compressor,Gas Driven | EA | 1 |  |  |  | 80055007 | INGERSOLL-RAND CO.(COMPRESSOR) | 45466075 | Two Stage Gas Drive Industrial Compressors Horsepower: 12.5 Cubic Feet per Minute: 24 Tank Capacity: 30 Configuration: Horizontal Engine Type: Kohler Maximum Working Pressure (psi): 175 | Each | 1 | 2355.45 | 1690 | 1690
| EA18 | Grainger | 1ANZ7 | DAYTON | 1ANZ7 | Air Circulator,20 In,Pedestal Mount,115v | [9 empty] | 1ANZ7 | DAYTON | 1ANZ7 | Air Circulator,20 In,Pedestal Mount,115v | EA | 1 | 194.75 | 106.05 | 106.05 | 6003982 | IMPORT/ECONOMY | 0 | Fans Type: Standing Fan Blade Size: 20 Horsepower: 0.34 Number of Speeds: 3 RPM: 1450/1300/900 Amperage Rating: 2.1 | Each | 1 | 126.92 | 50.29 | 50.29 | [8 empty] | 6307417 | USA | 0 | Fans Type: Non-Oscillating Pedestal Fan Blade Size: 30 Cubic Feet per Minute: 7900/6000 Horsepower: 1/4 Number of Speeds: 2 Amperage Rating: 2.7 Phase: 1 Material: Steel | Piece | 2 | 286.14 | 88.2794
| EA19 | Grainger | 2MA12 | DAYTON | 2MA12 | Air Circulator,30 In | [9 empty] | 2MA12 | DAYTON | 2MA12 | Air Circulator,30 In | EA | 1 | 307 | 293.63 | 293.63 | 79234134 | MARLEY-FANS HEATERS | MVB30DC | Blower And Coolers - Fans Type: Blower Blade Size: 30 Cubic Feet per Minute: 7800/6000 Drive Type: Direct Mount: Floor Stand w/Wheels Voltage: 120 | Each | 1 | 408.72 | 198.6259 | 198.6259 | 0474906 | EMERSON VENTILATION PRODUCTS | 0474906 | 30" 2.2/1.64/1.63A Commercial DirectDrive Mobile Circulator | Each | 1 | 195.78 | 90.5273
| EA20 | Grainger | 2LBA5 | AIRMASTER FAN | CA30APE | Air Circulator,30 In,Pedestal Mtg,115 V | [9 empty] | 2LBA5 | AIRMASTER FAN | CA30APE | Air Circulator,30 In,Pedestal Mtg,115 V | EA | 1 | 351.5 | 193.72 | 193.72 | 74446196 | OUR STOCK-HVAC | 4031391/0036213 | 30 In. MACH-30 High-Performance Fan with Pedestal Mount Type: Industrial Fan Head with Pedestal & Base Blade Size: 30 Horsepower: 1/3 Number of Speeds: 2 RPM: 1150 Amperage Rating: 2.8 Phase: 1 | 0 | 0 | 338 | 199.0706 | 199.0706 | 0474912 | EMERSON VENTILATION PRODUCTS | 0474912 | 30" 2.6/2.0Amp Pedestal Mounted Standard Ind Circulator | Each | 1 | 387.28 | 246.3115
| EA21 | Grainger | 1YNW3 | DAYTON | 1YNW3 | Air Circulator,Mobile,24 In,115 V | [9 empty] | 1YNW3 | DAYTON | 1YNW3 | Air Circulator,Mobile,24 In,115 V | EA | 1 | 446.75 | 179.06 | 179.06 | 59503698 | MARLEY-FANS HEATERS | MVB30DB | Direct Drive Portable Blowers Type: Blower Blade Size: 30 Cubic Feet per Minute: 7800/6000 Drive Type: Direct Mount: Floor Stand w/Wheels Voltage: 120 | Each | 1 | 366.15 | 175.89 | 175.89 | 0474905 | EMERSON VENTILATION PRODUCTS | 0474905 | 24" 2.6/1.8/1.7Amp Commercial Direct Drive Mobile Circulator | Each | 1 | 171.69 | 83.5637
| EA22 | Grainger | 1AYU1 | DAYTON | 1AYU1 | Pkg Rooftop A/C,2.0 Ton,208/230 V,1 Ph | [9 empty] | 1AYU1 | DAYTON | 1AYU1 | Pkg Rooftop A/C,2.0 Ton,208/230 V,1 Ph | EA | 1
| EA23 | Grainger | 3VE17 | FRIEDRICH | XQ10 | Window Room A/C | [9 empty] | 3VE17 | FRIEDRICH | XQ10 | Window Room A/C | EA | 1 |  |  |  | 84557388 | HAIER AMERICA | HWR10XC6 | Room Air Conditioners - Cooling Only Type: Window (Cooling Only) BTU Rating: 10000 AMP Rating: 9.8 Wattage: 1020 Voltage: 115 Width: 19-11/16 Height: 13-9/16 Depth: 17-11/32 | Piece | 2 | 333.57 | 213 | 213
| EA24 | Grainger | 40046172 | UNITED REFRIGERATION | 7EHA010H2HT3ABB | CONDENSER
| EA25 | Grainger | 1YNW5 | DAYTON | 1YNW5 | Air Circulator,Mobile,36 In,115 V | [9 empty] | 1YNW5 | DAYTON | 1YNW5 | Air Circulator,Mobile,36 In,115 V | EA | 1 | 712.5 | 293.69 | 293.69 | 1843846 | MARLEY-FANS HEATERS | MVB36DB | Blower And Coolers - Fans Type: Blower Blade Size: 36 Cubic Feet per Minute: 12500/9000 Drive Type: Direct Mount: Floor Stand w/Wheels Voltage: 115 | Each | 1 | 460.34 | 227.59 | 227.59 | 7059922 | EMERSON VENTILATION PRODUCTS | 7059922 | 36" Direct Drive Round Mobile Circ w/ Tilt Kit | Each | 1 | 549.02 | 432.1475
| EA26 | Grainger | 2YU69 | DAYTON | 2YU69 | UNIT HEATER,10.08/7.488 kW,240/208 V | [9 empty] | 2YU69 | DAYTON | 2YU69 | UNIT HEATER,10.08/7.488 kW,240/208 V | EA | 1 |  |  |  | 76934256 | TPI CORP.-FANS/HEATERS | HF2B5103N | Vertical/Horizontal Electric Unit Heaters Type: Wall/Ceiling Maximum BTU Rating: 11200 Phase: 1, 3 Voltage: 240/208 Wattage: 3300/2500 Cubic Feet per Minute: 400 Height: 17-3/4 | Each | 1 | 395.63 | 181.1892 | 181.1892
| EA27 | Grainger | 2FDA7 | AIRMASTER FAN | DD3641 | Air Circulator,Mobile,36 In,115 V | [9 empty] | 2FDA7 | AIRMASTER FAN | DD3641 | Air Circulator,Mobile,36 In,115 V | EA | 1 | 823 | 261.24 | 261.24 | 83717769 | AIRMASTER FAN COMPANY | DD3641 | DD3641 36" 4 IN 1 FAN AIR CIRC, AIRMASTER QIA | 0 | 0 | 898.11 | 647.0588 | 647.0588 | 0282164 | TPI CORP. | 07965402 | 5.5A 120V 36"Blade 1/3hp 1050rpm 2Speed Portable Std Blower | Each | 1 | 484.1 | 309.2815
| EA28 | Item pulled out from MRO contract
| EA29 | Grainger | 1NXE2 | DAYTON | 1NXE2 | Condensing Unit,5 Ton,BtuH 60K,460V | [9 empty] | 1NXE2 | DAYTON | 1NXE2 | Condensing Unit,5 Ton,BtuH 60K,460V | EA | 1
| EA30 | Grainger | 4LR73 | MSA | 496081 | Cartridge,Hepa,Pk6 | 1023580 | MSA (MINE SAFETY APPLIANCE) | 496081 | 496081 Pink OPTIFILTER XL Type HE Cartridge 6/ct | Set | 6 | 113.91 | 85.1055 | 85.1055 | 4LR73 | MSA | 496081 | Cartridge,Hepa,Pk6 | PK | 6 | 98.7 | 78.7 | 78.7 | 77878668 | MINE SAFETY APPLIANCES COMPANY | 496081 (6PCS) | HEPAFLTR/6/XASBESTOS SAFETY EQUIPMENT QIA | 0 | 0 | 99.36 | 65.6235 | 65.6235 | [8 empty] | 79496121 | CLORE AUTOMOTIVE(CENTURY MFG) | OS6130 | Wheel Type Battery Chargers Type: Battery Charger Amperage Rating: 60/40/2 Starter Amperage: 250 Voltage: 6/12 | Each | 1 | 425.89 | 252.5838
| EA31 | Grainger | 4Z555 | MATSUSHITA | 2P19S3R236A | A/C Compressor,R22 | [9 empty] | 4Z555 | MATSUSHITA | 2P19S3R236A | A/C Compressor,R22 | EA | 1 | 334.75 | 205.64 | 205.64
| EA32 | Grainger | 1VAN5 | PORTER-CABLE | C2002 | Air Compressor,120 V,0.8 HP,6 Gal Tank | BSS | Porter-Cable | C2002 | Air Compressor,120 V,0.8 HP,6 Gal Tank | Each | 1 | 323.34 | 187.473 | 187.473 | 1VAN5 | PORTER-CABLE | C2002 | Air Compressor,120 V,0.8 HP,6 Gal Tank | EA | 1 | 199 | 180.66 | 180.66 | 79405304 | PORTER CABLE CORP. | C2002 | Electric Air - Compressors-portable Horsepower: 0.8 Running Cubic Feet per Minute: 2.6 CFM @ 90 psi Tank Capacity: 6 Gal. Configuration: Pancake Input Current: 10 Amp Maximum Working Pressure (psi): 150 | Each | 1 | 234.89 | 141.99 | 141.99
| EA33 | Grainger | 2XY67 | FRIEDRICH | M09CF | A/C,Ductless Split System,BtuH 9700,115v | [9 empty] | 2XY67 | FRIEDRICH | M09CF | A/C,Ductless Split System,BtuH 9700,115v | EA | 1
| EA34 | Grainger | 1VXU2 | FRIEDRICH | PDXWS | Wall Sleeve,16 Hx42 Wx13 3/4 In D,Gray | [9 empty] | 1VXU2 | FRIEDRICH | PDXWS | Wall Sleeve,16 Hx42 Wx13 3/4 In D,Gray | EA | 1 | 113 | 77.84 | 77.84 | 8525842 | FRIEDRICH AIR CONDITIONING | PDXWS | Air Conditioner Accessories Type: PTAC Sleeve For Use With: PTAC (Packaged Terminal Air Conditioner) | 0 | 0 | 103.21 | 82.3059 | 82.3059
| EA35 | Grainger | 3UF15 | FRIEDRICH | WSC | A/C Wall Sleeve | [18 empty] | 6950596 | FRIEDRICH AIR CONDITIONING | WSC | WALL SLEEVE WALLMASTER | 0 | 0 | 74.43 | 47.59 | 47.59
| EA36 | Grainger | 7A710 | DAYTON | 7A710 | Exhaust Vent,24 1/2 In | [9 empty] | 7A710 | [7 empty] | 831.33 | 74080094 | FANTECH INC. | 5BDU24GX | 24"1.5HP 3PH BELT DRV UPBLAST VENTILTR | Each | 1 | 1678.68 | 906.79 | 906.79 | 7059980 | EMERSON VENTILATION PRODUCTS | 7059980 | 24.5" 1.5 HP Belt Drive Upblast Centrifugal Roof Ventilator | Each | 1 | 1534.22 | 1093.8428
| EA37 | Grainger | 1BLJ7 | DAYTON | 1BLJ7 | Exhaust Fan,24 In,115 V,4876 CFM | [9 empty] | 1BLJ7 | DAYTON | 1BLJ7 | Exhaust Fan,24 In,115 V,4876 CFM | EA | 1 | 810 | 275.58 | 275.58 | [9 empty] | 7059909 | EMERSON VENTILATION PRODUCTS | 7059909 | 24" 1/4 HP 3240 CFM 3.7 Amp Shutter Mounted Exhaust Fan | Each | 1 | 412.8 | 308.6768
| EA38 | Grainger | 3H356 | WOODS | GD55S | Dehumidifier,101 Pints | [9 empty] | 3H356 | WOODS | GD55S | Dehumidifier,101 Pints | EA | 1 | 761.5
| EA39 | Grainger | 4NB86 | SPEEDAIRE | 4NB86 | Compressor/Generator | [9 empty] | 4NB86 | SPEEDAIRE | 4NB86 | Compressor/Generator,6.5 HP,10.9 Max CFM | EA | 1 | 1686 | 1198.76 | 1198.76
| EA40 | Grainger | 3DU30 | FRIEDRICH | SL28 | Window Room A/C | [9 empty] | 3DU30 | FRIEDRICH | SL28 | Window Room A/C | EA | 1 |  |  |  | 9709700 | FRIEDRICH AIR CONDITIONING | SL28L30 | HVY DUTY 28000BTU/230V ROOM AIR CONDITIONER | Each | 1 | 1488.43 | 735 | 735 | [8 empty] | 84557313 | HAIER AMERICA | HWS18VH6 | Heat/Cool Units - Electric Strip Heat Type: Window (Cool & Heat) BTU Rating: 18000 AMP Rating: 8.0 Wattage: 1850 Voltage: 208/230 Width: 27-3/4 Height: 17-15/16 Depth: 33-5/32 | Each | 1 | 833.96 | 475.0251
| EA41 | Grainger | 3VE12 | FRIEDRICH | YM18 | Heat Pump Room A/C | [9 empty] | 3VE12 | FRIEDRICH | YM18 | Heat Pump Room A/C | EA | 1 |  |  |  | 3340676 | FRIEDRICH AIR CONDITIONING | YM18J34C | HEAT/COOL AIR 6-30P 17-15/16X25-15/16 230VQIA | 0 | 0 | 1325.93 | 955.2941 | 955.2941
| EA42 | Grainger | 40045647 | UNITED REFRIGERATION | TLP211 MASI | EVAPORATOR
| EA43 | Grainger | 4JA15 | AMERIFLOW | G6400W24X24 | Diffuser,Ceiling | [9 empty] | 4JA15 | AMERIFLOW | G6400W24X24 | Diffuser,Ceiling | EA | 1 |  |  |  | 76941533 | AIRMATE/SELKIRK | 1300 4WAY | Registers & Diffusers Type: Ceiling Grille Height: 6 In. Length: 6 In. Style: High Volume Material: Aluminum | 0 | 0 | 59.81 | 38.4979 | 38.4979
| EA44 | Grainger | 1LYY7 | MOVINCOOL | CM12 | Ceiling Mount Air Conditioner,10500 BtuH | [9 empty] | 1LYY7 | MOVINCOOL | CM12 | Ceiling Mount Air Conditioner,10500 BtuH | EA | 1 |  |  |  | 59617399 | DENSO SALES CALIFORNIA INC. | CM12 | 10500BTU 1PH 115V CEILING MTD AIR CONDTIONR | 0 | 0 | 3065 | 1832.99 | 1832.99
| EA45 | Grainger | 4CE68 | FRIGIDAIRE | FAC125 | Air Conditioner,Window | [9 empty] | 4CE68 | FRIGIDAIRE | FAC125 | Air Conditioner,Window | EA | 1 |  |  |  | 84557388 | HAIER AMERICA | HWR10XC6 | Room Air Conditioners - Cooling Only Type: Window (Cooling Only) BTU Rating: 10000 AMP Rating: 9.8 Wattage: 1020 Voltage: 115 Width: 19-11/16 Height: 13-9/16 Depth: 17-11/32 | Piece | 2 | 333.57 | 223.812 | 223.812
| EA46 | Grainger | 1K543 | PORT-A-COOL | PAD6048/G | One Replacement Media Pad | 0209228 | PORT-A-COOL | PAD6048/G | Individual Replacement Pad for 36" Port-A-Cool unit, 5 Required for complete set | Each | 1 | 56.8 | 43.0396 | 43.0396 | 1K543 | PORT-A-COOL | PAD6048/G | One Replacement Media Pad | EA | 1 | 64.3 | 27.81 | 27.81 | 5532031 | PORT A COOL LLC | PAD6048/G | Portable Evaporative Cooling Units Type: Replacement Pads For Use With: 36" Evaporative Cooler | Each | 1 | 60.6 | 35.2588 | 35.2588
| EA47 | Grainger | 1NXD7 | DAYTON | 1NXD7 | Condensing Unit,5 Ton,BtuH 60K,208/230V | [9 empty] | 1NXD6 | DAYTON | 1NXD6 | Condensing Unit,4 Ton,BtuH 48K,208/230V | EA | 1
| EA48 | Grainger | 40183184 | RB AKINS | N/A | 36X48 INCH GR VENTILATOR CAP
| EA49 | Grainger | 3GD28 | ROBERTSHAW | 9610 | Digital Thermostat,1H,1C,Hp,7Day Program | [9 empty] | 3GD28 | ROBERTSHAW | 9610 | Digital Thermostat,1H,1C,Hp,7Day Program | EA | 1 | 62.8 | 26.05 | 26.05 | [9 empty] | 0459961 | HONEYWELL | TH6110D1021 | FOCUSPRO 5-1-1 Program DualPwrd 1H/1C Lrg Display Thermostat | Each | 1 | 73.39 | 54.2735
| EA50 | Grainger | 3DU29 | FRIEDRICH | KM24 | Air Conditioner,Window | [9 empty] | 3DU29 | FRIEDRICH | KM24 | Air Conditioner,Window | EA | 1 | 1189 | 574.22 | 574.22 | 9709692 | FRIEDRICH AIR CONDITIONING | KM24L30 | HVY DUTY 25000BTU/230V ROOM AIR CONDITIONER | 0 | 0 | 1033.33 | 585 | 585 | [8 empty] | 84557313 | HAIER AMERICA | HWS18VH6 | Heat/Cool Units - Electric Strip Heat Type: Window (Cool & Heat) BTU Rating: 18000 AMP Rating: 8.0 Wattage: 1850 Voltage: 208/230 Width: 27-3/4 Height: 17-15/16 Depth: 33-5/32 | Each | 1 | 833.96 | 475.0251
| EA51 | Grainger | 2NLR6 | DAYTON | MPM3-12CR | Portable AC,12000 BtuH,115V,With Remote | [9 empty] | 2NLR6 | DAYTON | MPM3-12CR | Portable AC,12000 BtuH,115V,With Remote | EA | 1 | 787.5 | 419.19 | 419.19
| EA52 | Grainger | 40309809 | RB AKINS | SEE CC NOTES | 2IN X2IN CORNER GUARDS
| EA53 | Grainger | 1CKA4 | DAYTON | 1CKA4 | Air Handler,5 Tons,57 Hx24 1/2 Wx22 D | [9 empty] | 1CKA4 | DAYTON | 1CKA4 | Air Handler,5 Tons,57 Hx24 1/2 Wx22 D | EA | 1 | 1311 | 738.39 | 738.39 | 60812740 | AIR IMPURITIES REMOVAL SYSTEMS | S-984-1 | Series S-984 Clean Air Station - (Bench-Top Ductless Fume/Dust/Spray Booth) Type: With 2-Ply Polyester Prefilter & Removable Inlet Grille Width: 24.0 In. Height: 24.0 In. Depth: 14.0 In. | Each | 1 | 1403.33 | 1036.7647 | 1036.7647
| EA54 | Grainger | 40250985 | COMPRESSOR UNLTD. | 4RA-2000-TSK | AIR COMPRESSOR,EXCHANGE PRICE
| EA55 | Grainger | 3MY15 | WHITE-RODGERS | 1F83-261 | Digital Thermostat,2H,2C,Nonprogrammable | [9 empty] | 3MY15 | WHITE-RODGERS | 1F83-261 | Digital Thermostat,2H,2C,Nonprogrammable | EA | 1 |  |  |  | 5284997 | WHITE-RODGERS DIV.EMERSON | 01F83 261S1 | Thermostats Type: Standard Digital Non-Programmable Multi-Stage Thermostat Style: 2 Heat, 2 Cool Maximum Temperature (F): 90 Minimum Temperature (F): 45 | Each | 1 | 99.27 | 52.4671 | 52.4671 | 0459967 | HONEYWELL | TH5220D1029 | FOCUSPRO Digtl NonProgram DualPwrd 2H/2C Lrg Scrn Thermostat | Each | 1 | 71.73 | 53.0497
| EA56 | Grainger | 4CE69 | FRIGIDAIRE | FAM156 | Air Conditioner,Window | [9 empty] | 4CE69 | FRIGIDAIRE | FAM156 | Air Conditioner,Window | EA | 1 |  |  |  | 3816535 | FRIEDRICH AIR CONDITIONING | SS14L10 | Commercial Grade Electronic Programmable Room Air Conditioners Type: Quietmaster Electronic BTU Rating: 14000 AMP Rating: 12.0 Wattage: 1308 Voltage: 115 Width: 25.94 In., 25-15/16 | Each | 1 | 1055.08 | 633.1568 | 633.1568
| EA57 | Grainger | 4YN50 | SPEEDAIRE | 4YN50 | Compressor,Air | [9 empty] | 4TW29 | WESTWARD | 4TW29 | Compressor,Air,2.0 HP,20 Gal., Vertical | EA | 1 | 461.5 | 407.26 | 407.26 | 52776465 | JUPITER | 0 | Electric Air - Compressors-portable Horsepower: 2.0 Cubic Feet per Minute: 5.8 @ 90 PSI Tank Capacity: 33 Gal. Configuration: Vertical Input Current: 15 Amp Maximum Working Pressure (psi): 150 | 0 | 0 | 549 | 282 | 282
| EA58 | Grainger | 3YA43 | HANKISON | HPR5-10 | Refrigerated Air Dryer | [9 empty] | 3YA43 | HANKISON | HPR5-10 | Refrigerated Air Dryer | EA | 1 | 893.5 | 365.43 | 365.43 | 1960582 | HANKISON INTERNATIONAL | HPR5-10 | Refrigerated Air Dryers with Coalescing Filter Pipe Size: 3/8 Horsepower: 1/20 CFM@38DegF Dewpoint: 10 CFM@50DegF Dewpoint: 13 | Each | 1 | 733.68 | 407.3961 | 407.3961
| EA59 | Grainger | 2RYU1 | DAYTON | GHGD36S21S1 | Condensing Unit, Heat pump,1 Ph,3.0 Ton | [9 empty] | 2RYU1 | DAYTON | GHGD36S21S1 | Condensing Unit, Heat pump,1 Ph,3.0 Ton | EA | 1
| EA60 | MSC | 76934280 | TPI CORP.-FANS/HEATERS | HF2B5107CA1L | 7500W 240/208V VERT /HORIZ UNIT HEATER | BSS | TPI | HF2B5107CA1L | 7500W 240/208V VERT /HORIZ UNIT HEATER | Each | 1 | 1033 | 510.302 | 510.302 | 2YU66 | DAYTON | 2YU66 | UNIT HEATER,7.5/5.6 kW,240/208 V | EA | 1 |  |  |  | 76934280 | TPI CORP.-FANS/HEATERS | HF2B5107CA1L | Electric Heaters - Commercial Suspended Heating Type: Wall/Ceiling Maximum BTU Rating: 25600 Phase: 1, 3 Voltage: 240/208 Wattage: 7500/5600 Cubic Feet per Minute: 700 Height: 24-1/2 | Each | 1 | 560.94 | 321.9621 | 321.9621 | [8 empty] | 7930563 | MARLEY-FANS HEATERS | MUH072 | Electric Heaters Type: horizontal/downflow unit Maximum BTU Rating: 25590 Phase: 1, 3 Voltage: 240/208 Wattage: 7500/5600 Cubic Feet per Minute: 650 Height: 21-3/4 Width: 19 | Each | 1 | 543.28 | 242.8706
| EA61 | Grainger | 6EU18 | PROCOM | MN300TPA | Infrared Gas Heater | [9 empty] | 6EU18 | PROCOM | MN300TPA | Infrared Gas Heater | EA | 1 | 434 | 184.03 | 184.03
| EA62 | Grainger | 2FDE4 | HUNTER | 28459 | Ceiling Fan,52 In,Maple/Chestnut Blades
| EA63 | Grainger | 1VXJ4 | FRIEDRICH | PDE12K3S | PTAC,12000/11800 BtuH,230/208 V,10.7 EER | [9 empty] | 1VXJ4 | FRIEDRICH | PDE12K3S | PTAC,12000/11800 BtuH,230/208 V,10.7 EER | EA | 1 |  |  |  | 72566458 | FRIEDRICH AIR CONDITIONING | PDE12K3SC | 12000 A/C, 230/208V 3.4KW-20 FRIEDRICH QIA | 0 | 0 | [11 empty] | 6443477 | CLORE AUTOMOTIVE(CENTURY MFG) | ES2500KE | Booster Pac Type: Booster Pacs Amperage Rating: 17 Starter Amperage: 250/900 Voltage: 12 | Each | 1 | 180.34 | 91.2118
| EA64 | Grainger | 40269685 | MANITOWOC | QY-0134A | 130 SERIES 1/2 DICE AIR COOLED
| EA65 | Grainger | 1VXK7 | FRIEDRICH | SM21L30 | Window A/C,20.6/20.2 MBtuH,230/208 V | [9 empty] | 1VXK7 | FRIEDRICH | SM21L30 | Window A/C,20.6/20.2 MBtuH,230/208 V | EA | 1 |  |  |  | 9361858 | FRIEDRICH AIR CONDITIONING | SM21L30 | SM21L30 21,000BTU AIR CONDITIONER | 0 | 0 | 1193.66 | 675.2941 | 675.2941
| EA66 | Grainger | 5VF77 | ROBINAIR | 25175B | Refrigerant Recovery Machine,2 Port | [9 empty] | 5VF77 | ROBINAIR | 25175B | Refrigerant Recovery Machine,2 Port | EA | 1 |  |  |  | 49695810 | OTC TOOL COMPANY | 25175B | HVAC Recovery Units Type: Lightweight HVAC Recovery Rate of Recovery (Vapor): Up to 1 Lb./min. Rate of Recovery (Liquid): 0.5 to 0.7 Lbs./min. | Each | 1 | 1095.53 | 634.8 | 634.8
| EA67 | Grainger | 3T098 | ALNOR | 6461CFM | Balometer,Analog | [9 empty] | 3ATR8 | ALNOR | ABT701 | Air Flow Capture Hood,Analog,2 x 2 Hood | EA | 1 | 3959 | 2410.16 | 2410.16
| EA68 | Grainger | 3VE11 | FRIEDRICH | EL36 | Elec. Heat Room A/C | [9 empty] | 3VE11 | FRIEDRICH | EL36 | Elec. Heat Room A/C | EA | 1 |  |  |  | 84557313 | HAIER AMERICA | HWS18VH6 | Heat/Cool Units - Electric Strip Heat Type: Window (Cool & Heat) BTU Rating: 18000 AMP Rating: 8.0 Wattage: 1850 Voltage: 208/230 Width: 27-3/4 Height: 17-15/16 Depth: 33-5/32 | Each | 1 | 833.96 | 452.99 | 452.99
| EA69 | Grainger | 40182785 | UNITED REFRIGERATION | TEHA010H2HS2BB | CONDENSER
| EA70 | Grainger | 5M186 | PORT-A-COOL | PAC2K163S | Evaporative Fan,16 In | 0209212 | PORT-A-COOL | PAC2K163S | #PAC2K163S 16"Fan 2230cfm 3Speed Portable Evap Cooling Unit | Each | 1 | 930.4 | 723.3326 | 723.3326 | 5M186 | PORT-A-COOL | PAC2K163S | Evaporative Fan,16 In | EA | 1 |  |  |  | 67177006 | PORT A COOL LLC | PAC2K163SHD | Portable Evaporative Cooling Units Blade Size: 16 Cubic Feet per Minute: 2500/3280/3900 Horsepower: 1/2 Number of Speeds: 3 | Each | 1 | 1007.24 | 568.5882 | 568.5882
| EA71 | Grainger | 40309805 | RB AKINS | SEE CC NOTES | 154 IN X 74IN BACKSPLASH
| EA72 | Grainger | 4CB60 | FRIEDRICH | XQ08 | Window Air Conditioner | [9 empty] | 4CB60 | FRIEDRICH | XQ08 | Window Air Conditioner | EA | 1
| EA73 | Grainger | 4E965 | MUELLER | 40620350B6 | Refrigerant Line Set,Copper Roll,L 35 Ft | BSS | Mueller Industries | 40620350B6 | Refrigerant Line Set,Copper Roll,L 35 Ft | Each | 1 | 192.69 | 83.915 | 83.915
| EA74 | Grainger | 2GZN3 | HONEYWELL | L4006E1117 | Aquastat Controller,100 F - 240 F | BSS | Honeywell | L4006E1117 | Aquastat Controller,100 F - 240 F | Each | 1 | 289.81 | 117.923 | 117.923 | 2GZN3 | HONEYWELL | L4006E1117 | Aquastat Controller,100 F - 240 F | EA | 1 | 260 | 130.88 | 130.88 | 77973410 | HONEYWELL, INC. | L4006E1117 | HONEYWELL AQUASTAT #L4006E1117 QIA | 0 | 0 | 103.64 | 60.9882 | 60.9882
| EA75 | Grainger | 40309804 | RB AKINS | SEE CC NOTES | 144IN X 74IN BACKSPLASH
| EA76 | Grainger | 40235977 | RB AKINS | N/A | 41X27IN TRANS BOX W/SEPARATOR 1IN FLANGE
| EA77 | Grainger | 40220243 | KNAUF | 2 FSK | 1 1/2"X75' ROLL FOIL BACKED INSULATION
| EA78 | Grainger | 7A0R3 | HAIER | 2XLV8_2XLV9 | Heat Pump Ductless 1 Zone,18000 Btuh | [9 empty] | 7A0R3 | various | Multiple | Heat Pump Ductless 1 Zone,18000 Btuh | EA | 1
| EA79 | Grainger | 4CE70 | FRIGIDAIRE | FAM186 | Air Conditioner,Window,With Remote | [9 empty] | 4CE70 | FRIGIDAIRE | FAM186 | Air Conditioner,Window,With Remote | EA | 1 |  |  |  | 3816543 | FRIEDRICH AIR CONDITIONING | SM18L30 | Commercial Grade Electronic Programmable Room Air Conditioners Type: Quietmaster Electronic BTU Rating: 18300 AMP Rating: 8.6 Wattage: 1892 Voltage: 230/208 Width: 25.94 In., 25-15/16 | Each | 1 | 1172.45 | 718.1909 | 718.1909
| EA80 | Grainger | 4CE79 | FRIGIDAIRE | FAH126 | Air Conditioner,Wall | [9 empty] | 4CE79 | FRIGIDAIRE | FAH126 | Air Conditioner,Wall | EA | 1 |  |  |  | 84557362 | HAIER AMERICA | HTWR12VC6 | Universal Through-the-Wall Air Conditioners Type: Thru-The-Wall BTU Rating: 12000 AMP Rating: 5.8 Wattage: 1330 Voltage: 208/230 Width: 24-1/32 Height: 14-9/16 | Piece | 2 | 700.52 | 406.6235 | 406.6235
| EA81 | Grainger | 40515265 | GOODMAN | GSX130601 | 5 TON CONDENSING UNIT 410A
| EA82 | Grainger | 40263349 | WINNELSON | 1 1/8 X 50 REFRIGERATI | 1 1/8 X 50 REFRIGERATION TUBE | [27 empty] | 0475543 | UNITED PIPE & STEEL CORP | 100180 | 1-1/8"OD x 50' 494PSI ASTM B88 Refrig. Soft Coil | Each | 1 | 216.21 | 183.1601
| EA83 | Grainger | 40220242 | KNAUF | 1 1/2 FSK | 1 1/2"X100' ROLL FOIL BACKED DUCT INSULA
| EA84 | Grainger | 3VE10 | FRIEDRICH | SL36 | Window Room A/C | [9 empty] | 3VE10 | FRIEDRICH | SL36 | Window Room A/C | EA | 1 |  |  |  | 9709700 | FRIEDRICH AIR CONDITIONING | SL28L30 | HVY DUTY 28000BTU/230V ROOM AIR CONDITIONER | Each | 1 | 1488.43 | 961.5366 | 961.5366 | [8 empty] | 84557313 | HAIER AMERICA | HWS18VH6 | Heat/Cool Units - Electric Strip Heat Type: Window (Cool & Heat) BTU Rating: 18000 AMP Rating: 8.0 Wattage: 1850 Voltage: 208/230 Width: 27-3/4 Height: 17-15/16 Depth: 33-5/32 | Each | 1 | 833.96 | 475.0251
| EA85 | Grainger | 6WY16 | HONEYWELL | C7189U1005 | Indoor Sensor, Cover Color White | 0459980 | HONEYWELL | C7189U1005 | Remote Indoor Sensor for VisionPRO Series Thermostats | Each | 1 | 29.31 | 21.2614 | 21.2614 | 6WY16 | HONEYWELL | C7189U1005 | Indoor Sensor, Cover Color White | EA | 1 | 54.45 | 22.73 | 22.73 | 5284542 | WHITE-RODGERS DIV.EMERSON | F0145 132800S1 | LIGHT GREY INDOOR THERMOSTAT REMOTE SENSOR | 0 | 0 | 42.02 | 20.4026 | 20.4026
| EA86 | Grainger | 40235566 | RB AKINS | N/A | 12X12X12IN TRAINSITION
| EA87 | Grainger | 7CF13 | DAYTON | 7CF13 | Exhaust Fan, 36 In,Volts 115/208-230 | [9 empty] | 7CF13 | [5 empty] | 1121 | 462.6 | 462.6 | 4142717 | FANTECH INC. | 1SDE36GB | 36"1.5HP 1PH BELT DRV STD EXH OPD PROPLLR FAN | Each | 1 | 816.66 | 527 | 527 | 7059946 | EMERSON VENTILATION PRODUCTS | 7059946 | 36" 1.5HP 16160CFM 115/230/1/60 Belt Dr Propeller Exhst Fan | Each | 1 | 805.1 | 626.3829
| EA88 | Grainger | 3UG80 | DAYTON | 3UG80 | Heater,Baseboard,72 In | [9 empty] | 3UG80 | DAYTON | 3UG80 | Heater,Baseboard,72 In | EA | 1 | 108.15 | 43.79 | 43.79 | 220863 | TPI CORP.-FANS/HEATERS | E2915-072SW | Electric Baseboard Heaters Length: 72 Voltage: 120 Wattage: 1500 BTU Rating: 5100 | Each | 1 | 90.54 | 45.3064 | 45.3064 | [8 empty] | 7930829 | MARLEY-FANS HEATERS | QMKC2576W | Electric Heaters Length: 72 Voltage: 277 Wattage: 1500 BTU Rating: 5100 | 0 | 0 | 160.29 | 109.3753
| EA89 | Grainger | 40248330 | RB AKINS | N/A | 24X24 50FF SURFACE MOUNT
| EA90 | Grainger | 4YP01 | DAYTON | 4YP01 | Compact Air Curtain | [9 empty] | 4YP01 | DAYTON | 4YP01 | Compact Air Curtain | EA | 1 | 941.5 | 440.41 | 440.41 | 72664444 | TPI CORP.-FANS/HEATERS | CFHD36 | Air Curtains Type: Heavy Duty For Doorway Height: 12 Width: 36 | Each | 1 | 1065 | 503.7971 | 503.7971 | 0507973 | Fastenal Approved Vendor | 0507973 | 42"Wide1/4HP 120V Commercial Unit Air Door | Each | 1 | 701.1 | 287.8259
| EA91 | Grainger | 2YAD6 | ESSICK AIR PRODUCTS | N46W | Evap Cooler,Window,4500 CFM, 115V | [9 empty] | 2YAD6 | ULTRACOOL | N46W | Evap Cooler,Window,4500 CFM, 115V | EA | 1 | 889 | 485 | 485
| EA92 | Grainger | 1GAJ3 | FLUKE | FLUKE-116/62 | HVAC Meter Kit,DMM and IR Thermometer | BSS | Fluke | FLUKE-116/62 | HVAC Meter Kit,DMM and IR Thermometer | Each | 1 | 267.95 | 247.312 | 247.312 | 1GAJ3 | FLUKE | FLUKE-116/62 | HVAC Meter Kit,DMM and IR Thermometer | EA | 1 |  |  |  | 79467874 | FLUKE CORPORATION | FLUKE-116/62 | HVAC Technician's Combo Kit Contents: 116 HVAC Multimeter, Infrared Thermometer, Test Lead Set, Magnetic Meter Hanging Strap, Temperature Probe, Thermocoupler Adapter, Carrying Case | Piece | 8 | 280.13 | 203.31 | 203.31
| EA93 | Grainger | 5E285 | ATCO | 07625-10 | Duct,Flexible,10 In | [9 empty] | 5E285 | ATCO | 07625-10 | Duct,Flexible,10 In | EA | 1 | 80.25 | 31.65 | 31.65
| EA94 | Grainger | 4WZ65 | AIR HANDLER | 4WZ65 | Filter,36x135ftx1/2 | [9 empty] | 4WZ65 | AIR HANDLER | 4WZ65 | Filter,36x135ftx1/2 | EA | 1 | 126.85 |  |  | 72999345 | USA | 0 | Polyester Air Filter Rolls Type: Dry Width: 36 Depth: 1/2 Length Ft.: 135 Material: Polyester | Foot | 135 | 106.52 | 53.3212 |  | 0452244 | KOCH FILTER CORPORATION | 572-036-135 | 36" x 135' x 1/2" Polyester Roll Dry White Air Filter | Each | 1 | 115.2
| EA95 | Grainger | 4MH76 | PORT-A-COOL | MK-47 | Mineral Treatment | BSS | Port-A-Cool | MK-47 | Mineral Treatment | Each | 1 | 64.325 | 44.6225 | 44.6225 | 4MH76 | PORT-A-COOL | MK-47 | Mineral Treatment | EA | 1 | 118.15 | 44.55 | 44.55 | 84974047 | PORT A COOL LLC | MK-47-CS | Portable Evaporative Cooling Units Type: Mineral Treatment For Use With: Portable Evaporative Coolers Diameter: 2-1/2 Capacity: 9.7 oz. | Ounce | 9.7 | 393.75 | 235.8196 | 235.8196
| EA96 | Grainger | 40535089 | WATSON MCDANIEL | TU PILOT 120-180-8 FT | TEMP PILOT RANGE 120-180 DEG F
| EA97 | Grainger | 4C904 | REVCOR | 4C904 | Blade,Fan,24 In,1 HP | [9 empty] | 4C904 | REVCOR | 4C904 | Blade,Fan,24 In,1 HP | EA | 1 | 77.2 | 24.1 | 24.1 | 8686412 | USA | 0 | Blades Blower Wheels - Fans Type: Commercial Fan Blade Blade Diameter: 24 Rotation: CW | Each | 1 | 43.22 | 25.1778 | 25.1778
| EA98 | Grainger | 2HPC4 | DAYTON | 2HPC4 | Portable Air Cleaner,UV,39/79/118 CFM | [9 empty] | 2HPC4 | DAYTON | 2HPC4 | Portable Air Cleaner,UV,39/79/118 CFM | EA | 1 | 377.25 | 196.11 | 196.11
| EA99 | Grainger | 1VXT8 | FRIEDRICH | PXGA | Std Outdoor Louver,Stamped Aluminum | [9 empty] | 1VXT8 | FRIEDRICH | PXGA | Std Outdoor Louver,Stamped Aluminum | EA | 1 | 55.05 | 26.61 | 26.61 | 5748462 | FRIEDRICH AIR CONDITIONING | PXGA | PXGA OUTDOOR LOUVER FRIEDRICH AIR COND QIA | 0 | 0 | 47.57 | 25.1353 | 25.1353
| EA100 | Grainger | 40515263 | GOODMAN | GMH91155DXA | FURNACE NAT GAS - THIS REPLACES GMH91155
| EA101 | Grainger | 3XK60 | DAYTON | 3XK60 | Fan,Venturi,24 In,115/230 V,5521 CFM | [9 empty] | 10D989 | GREENHECK | 1GH3XK60 | Fan,Venturi,24 In,115/230 V,5521 CFM | EA | 1 | 936 | 312.32 | 312.32 | 6665459 | USA | 0 | PVH18,.50HP,1750RPM, PROPELLOR FANS DIRECT DR | 0 | 0 | 511.04 | 369.6121 | 369.6121 | BSS | Faxtech, Inc. | 2CAV24E2 | Fan,Venturi,24 In,115/230 V,5521 CFM | Each | 1 | 590 | 383.5
| EA102 | Grainger | 4HA15 | PORT-A-COOL | PAC2K163SFC | Evaporative Fan,16 In | 0501619 | PORT-A-COOL | PAC2K163SFC | #PAC2K163SFC 115V 16"Blade 1/2hp HD 3-Spd Evap Cooler W/Cart | Each | 1 | 1334.9 | 1125.8207 | 1125.8207 | 4HA15 | PORT-A-COOL | PAC2K163SFC | Evaporative Fan,16 In | EA | 1 |  |  |  | 67176990 | PORT A COOL LLC | PAC2K163SFC | Portable Evaporative Cooling Units Blade Size: 16 Cubic Feet per Minute: 2500/3280/3900 Horsepower: 1/2 Number of Speeds: 3 | Each | 1 | 1610.95 | 685 | 685
| EA103 | Grainger | 1LXN1 | DAYTON | 1LXN1 | Mobile Air Circulator,48 In,115 Volt | [9 empty] | 1YNW8 |  | 1YNW8 | Mobile Air Circulator,48 In,115 Volt | EA | 1 | 1168 | 495.08 | 495.08 | [9 empty] | BSS | TPI Ind. | PB48-D-OP | Mobile Air Circulator,48 In,115 Volt | Each | 1 | 1307 | 645.658
| EA104 | Grainger | 4LY77 | A.O. SMITH | H1037 | Motor,2 HP,60hz,Belt | [9 empty] | 4LY77 | A.O. SMITH | H1037 | Motor,2 HP,60hz,Belt | EA | 1 |  |  |  | 87960902 | EMERSON MOTOR COMPANY | 8494 | Motors & Accessories Thermal Protection Rating: None Applications: HVAC Motor Type: Three Phase Standard Efficient Type of Enclosure: ODP Horsepower: 2 Frequency Hz: 60 Name Plate RPMs: 1725 | 0 | 0 | 371.75 | 272.2118 | 272.2118 | BSS | Leeson Electric | G120012 | Motor,2 HP,60hz,Belt | Each | 1 | 433 | 213.902
| EA105 | Grainger | 1DGX6 | DAYTON | 1DGX6 | Dehumidifier,65 Pints,115 V,60 Hz | [9 empty] | 1DGX6 | DAYTON | 1DGX6 | Dehumidifier,65 Pints,115 V,60 Hz | EA | 1 |  |  |  | 84557198 | HAIER AMERICA | HD456E | Dehumidifiers Type: General Purpose Volume Capacity: 45 Saturation Capacity: 45 Pt. | Each | 1 | 277.98 | 171.7858 | 171.7858
| EA106 | Grainger | 2YU73 | DAYTON | 2YU73 | UNIT HEATER,15 kW,480 V | [9 empty] | 2YU73 | DAYTON | 2YU73 | UNIT HEATER,15 kW,480 V | EA | 1 |  |  |  | 7930647 | MARLEY-FANS HEATERS | MUH154 | Electric Heaters Type: Horizontal/Downflow Unit Maximum BTU Rating: 51200 Phase: 3 Voltage: 480 Wattage: 15000 Cubic Feet per Minute: 910 Height: 21-3/4 Width: 19 Depth: 12-3/4 | Each | 1 | 1061.06 | 452 | 452
| EA107 | Grainger | 40496002 | GOODMAN | GSC130481 | 13 SEER LOUVERED CONDENSING UNIT
| EA108 | Grainger | 40497221 | GOODMAN | GSC130481 | 13 SEER LOUVERED CONDENSING UNIT
| EA109 | Grainger | 2P096 | LITTLE GIANT | VCL-45S | Pump,Condensate,115 V | BSS | Little Giant | VCL-45S | Pump,Condensate,115 V | Each | 1 | 410 | 202.54 | 202.54 | 2P096 | LITTLE GIANT | VCL-45S | Pump,Condensate,115 V | EA | 1 | 376 | 168.59 | 168.59 | 3686078 | LITTLE GIANT (SUBMERSIBLE) | 553240 | 1GAL 45' SHUTOFF CONDENSATE REMOVAL PUMPS | 0 | 0 | 372.24 | 121.59 | 121.59
| EA110 | Grainger | 4E396 | ROBERTSHAW | 712-017 | Pilot Ignitor System | [9 empty] | 4E396 | ROBERTSHAW | 712-017 | Pilot Ignitor System | EA | 1 | 199.25 | 124.75 | 124.75
| EA111 | Grainger | 40248328 | RB AKINS | N/A | 12X12IN 50F SURFACE MOUNT
| EA112 | Grainger | 40512550 | GOODMAN | GMH950704CXA | FURNACE NAT GAS - THIS REPLACES GMH90704
| EA113 | Grainger | 3ZG62 | FORANE | R410A | Refrigerant,25 Lb | [18 empty] | 3372091 | REFRIGERATION SUPPLIES DIST. | REF R410A 25# | R410A AZ20 25# CYLINDER QIA | 0 | 0 | 426.36 | 281.5953 | 281.5953 | [8 empty] | 81386948 | RUBBERMAID COMMERCIAL | 264560 BLACK | Round Container Systems Type: Lid For Use With: 2643 BRUTE Containers Color: Black Material: Plastic | Each | 1 | 23.74 | 12.5635
| EA114 | Grainger | 1TDR9 | DAYTON | 1TDR9 | PSC Blower,115 Volts | [9 empty] | 1TDR9 | DAYTON | 1TDR9 | PSC Blower,115 Volts | EA | 1 | 112.35 | 53.23 | 53.23
| EA115 | Grainger | 3UF22 | FRIEDRICH | YS13 | Heat Pump Room A/C | [9 empty] | 3UF22 | FRIEDRICH | YS13 | Heat Pump Room A/C | EA | 1 |  |  |  | 9709767 | FRIEDRICH AIR CONDITIONING | YS13L33 | Commercial Grade - Heat/Cool Room Air Conditioners Type: Room Heat Pump/Cool BTU Rating: 12400/12200 AMP Rating: 5.2/5.6 Wattage: 1327/1327 Voltage: 230/208 Width: 25-15/16 | Each | 1 | 1117.73 | 665.99 | 665.99 | [8 empty] | 84557313 | HAIER AMERICA | HWS18VH6 | Heat/Cool Units - Electric Strip Heat Type: Window (Cool & Heat) BTU Rating: 18000 AMP Rating: 8.0 Wattage: 1850 Voltage: 208/230 Width: 27-3/4 Height: 17-15/16 Depth: 33-5/32 | Each | 1 | 833.96 | 475.0251
| EA116 | Grainger | 5AU42 | AIR KING | 9215 | Wind Tower Fan | [9 empty] | 5AU42 | AIR KING | 9215 | Wind Tower Fan | EA | 1 |  |  |  | 88067442 | AIR KING, AMERICA | 9215 | UPRITE OSCILLATING FAN AIR TREATMENT EQUIPMT QIA | 0 | 0 | 72.53 | 43.09 | 43.09
| EA117 | Grainger | 40515262 | GOODMAN | GSX130361 | 3 TON CONDENSING UNIT 410A
| EA118 | Grainger | 1GAJ4 | FLUKE | FLUKE-117/322 | Electrician's DMM Kit,DMM and Clamp-On | BSS | Fluke | FLUKE-117/322 | Electrician's DMM Kit,DMM and Clamp-On | Each | 1 | 267.95 | 247.312 | 247.312 | 1GAJ4 | FLUKE | FLUKE-117/322 | Electrician's DMM Kit,DMM and Clamp-On | EA | 1 |  |  |  | 79467882 | FLUKE CORPORATION | FLUKE-117/322 | Electrician's Digital Multimeter Combo Kit Contents: 117 True RMS Digital Multimeter, Compact Clamp Meter, Magnetic Meter Hanging Strap, Test Lead Set, Carrying Case | Piece | 5 | 280.13 | 208.69 | 208.69
| EA119 | Grainger | 40496003 | GOODMAN | GMH950704CX | HORIZONTAL FURNACE UP 95% 2STG
| EA120 | Grainger | 40497222 | GOODMAN | GMH950704CX | HORIZONTAL FURNACE UP 95% 2STG
| EA121 | Grainger | 4LY59 | A.O. SMITH | H615V1 | Motor,1 HP,60hz,Belt | [9 empty] | 4LY59 | A.O. SMITH | H615V1 | Motor,1 HP,60hz,Belt | EA | 1 |  |  |  | 87960928 | EMERSON MOTOR COMPANY | 8498 | Motors & Accessories Thermal Protection Rating: None Applications: HVAC Motor Type: Three Phase Standard Efficient Type of Enclosure: ODP Horsepower: 1 Frequency Hz: 60 Name Plate RPMs: 1725 | 0 | 0 | 243 | 169.3882 | 169.3882 | BSS | Leeson Electric | 110052 | Motor,1 HP,60hz,Belt | Each | 1 | 427 | 210.938
| EA122 | Grainger | 3UC15 | HONEYWELL | LP920A1039 | Sensor,Temperature | BSS | Honeywell | LP920A1039 | Sensor,Temperature | Each | 1 | 450.51 | 183.313 | 183.313 | 3UC15 | HONEYWELL | LP920A1039 | Sensor,Temperature | EA | 1 | 252 | 202 | 202
| EA123 | Grainger | 4YC86 | DAYTON | 4YC86 | Exhaust Vent,10 In | [9 empty] | 4YC86 | DAYTON | 4YC86 | Exhaust Vent,10 In | EA | 1 | 379.75 | 185.37 | 185.37 | 74078205 | FANTECH INC. | 5ADE102A | Direct-Drive Axial Exhaust Downblast Roof Ventilators Type: Axial Blade Size: 10 Cubic Feet per Minute: 547 Drive Type: Direct Horsepower: 1/30 Type of Enclosure: Open Dripproof RPM: 1759 | Each | 1 | 347.46 | 197.8941 | 197.8941 | 7059927 | EMERSON VENTILATION PRODUCTS | 7059927 | 10.5" 1/6 HP Direct Drive Downblast Centrifugal Exhaust Fan | Each | 1 | 450.01 | 312.986
| EA124 | Grainger | 3DU32 | FRIEDRICH | EM18 | Elec. Heat Room A/C | [9 empty] | 3DU32 | FRIEDRICH | EM18 | Elec. Heat Room A/C | EA | 1 |  |  |  | 9709726 | FRIEDRICH AIR CONDITIONING | EM18L34 | Commercial Grade - Heat/Cool Room Air Conditioners Type: Room Electric Heat/Cool BTU Rating: 18300/17800 AMP Rating: 8.6/9.2 Wattage: 1892/1828 Voltage: 230/208 Width: 25-15/16 | Each | 1 | 1040.61 | 819.2152 | 819.2152 | [8 empty] | 84557313 | HAIER AMERICA | HWS18VH6 | Heat/Cool Units - Electric Strip Heat Type: Window (Cool & Heat) BTU Rating: 18000 AMP Rating: 8.0 Wattage: 1850 Voltage: 208/230 Width: 27-3/4 Height: 17-15/16 Depth: 33-5/32 | Each | 1 | 833.96 | 475.0251
| EA125 | Grainger | 40496006 | GOODMAN | GMH950703BX | FURNACE UP/HRIZONTAL 95% 2STG
| EA126 | Grainger | 3BE30 | FRIEDRICH | YS09 | A/C With Heat Pump | [9 empty] | 3BE30 | FRIEDRICH | YS09 | A/C With Heat Pump | EA | 1 |  |  |  | 9709759 | FRIEDRICH AIR CONDITIONING | YS09L10 | Commercial Grade - Heat/Cool Room Air Conditioners Type: Room Heat Pump/Cool BTU Rating: 9200 AMP Rating: 7.3 Wattage: 785 Voltage: 115 Width: 25-15/16 Height: 15-15/16 | Each | 1 | 1080 | 559.89 | 559.89 | [8 empty] | 84557313 | HAIER AMERICA | HWS18VH6 | Heat/Cool Units - Electric Strip Heat Type: Window (Cool & Heat) BTU Rating: 18000 AMP Rating: 8.0 Wattage: 1850 Voltage: 208/230 Width: 27-3/4 Height: 17-15/16 Depth: 33-5/32 | Each | 1 | 833.96 | 475.0251
| EA127 | Grainger | 5E286 | ATCO | 07625-12 | Duct,Flexible,12 In | [9 empty] | 5E286 | ATCO | 07625-12 | Duct,Flexible,12 In | EA | 1 | 76.4 | 39.38 | 39.38
| EA128 | Grainger | 1MBE8 | DAYTON | 1MBE8 | Roof Vent,13 1/4 In,115-208-230 V | [9 empty] | 1MBE8 | DAYTON | 1MBE8 | Roof Vent,13 1/4 In,115-208-230 V | EA | 1 | 1349 | 518.06 | 518.06 | [9 empty] | 7059982 | EMERSON VENTILATION PRODUCTS | 7059982 | 13.5" 1/2HP Direct Drive Upblast Centrifugal Roof Ventilator | Each | 1 | 764.08 | 546.5889
| EA129 | Grainger | 4VE79 | FRIGIDAIRE | FAS25E | Electricheat Windowa/C | [9 empty] | 4VE79 | FRIGIDAIRE | FAS25E | Electricheat Windowa/C | EA | 1
| EA130 | Grainger | 4YP02 | DAYTON | 4YP02 | Compact Air Curtain | [9 empty] | 4YP02 | DAYTON | 4YP02 | Compact Air Curtain | EA | 1 | 1024 | 595.09 | 595.09 | 72664444 | 0 | 0 | Air Curtains Type: Heavy Duty For Doorway Height: 12 Width: 36 | Each | 1 | 1065 | 503.7971 | 503.7971 | 0507975 | Fastenal Approved Vendor | 0507975 | 60"Wide1/4HP 120V Commercial Unit Air Door | Each | 1 | 902.5 | 401.0326
| EA131 | Grainger | 40183185 | RB AKINS | N/A | 40X52X13.5 ROOF CURB; 12 PITCH
| EA132 | Grainger | 6EU16 | PROCOM | MN180HPA | Infrared Gas Heater | [9 empty] | 6EU16 | PROCOM | MN180HPA | Infrared Gas Heater | EA | 1 | 324.75 | 133.09 | 133.09
| EA133 | Grainger | 40496005 | GOODMAN | GSC130301 | CONDENSING UNIT 13 SEER LOUVERED
| EA134 | Grainger | 40535017 | GOODMAN | GSC130361 | 3 TON 13SCER AIR COND FOR R22
| EA135 | Grainger | 3TZ96 | HONEYWELL | EA79A1004 | Industrial Air Vent | 0458492 | HONEYWELL | EA79A1004 | 3/4" Male NPT 150 PSI Industrial Automatic Air Vent | Each | 1 | 63.7 | 46.2082 | 46.2082 | 3TZ96 | HONEYWELL | EA79A1004 | Industrial Air Vent | EA | 1 | 109.65 | 38.04 | 38.04 | 4796041 | HONEYWELL WATER CONTROLS | EA79A1004 | EA79 AUTOMATIC AIR VENT - HONEYWELL QIA | 0 | 0 | 78.39 | 45.1882 | 45.1882 | [8 empty] | 85941698 | INGERSOLL RAND SECURITY TECH | 1261 RW/PA AL | 1260 Series Multi-Size Door Closers Type: Non-Handed Door Closer Finish/Coating: Aluminum Door Thickness: All Types of Door Thickness | 0 | 0 | 105.3 | 74.8516
| EA136 |  |  |  |  | 7.5 MFD 440 Volt Run Capacitor | [9 empty] | 2MDY7 | DAYTON | 2MDY7 | Run Capacitor,7.5 MFD,440 VAC,Oval | EA | 1 | 10.64 | 1.45 | 1.45 | [9 empty] | 0454225 | SEALED UNIT PARTS CO. INC | CR7.5X440 | CR7.5X440 Oval Run Capacitor | Each | 1 | 3.3 | 2.6574

## Tier 2
State of Oklahoma
Maintenance, Repair, and Operations (MRO)
SW 10817
HVAC
updated March 3, 2010
TIER 2 (Discounts based on Manufacturers)
| Ref # | Manufacturer | Fastenal | Grainger | MSC
| EB1 | 3M |  |  | 15%
| EB2 | A.O. SMITH |  |  | 10%
|  | AERO-FLO FILTERS |  |  | 10%
| EB3 | AIR HANDLER
| EB4 | AIR KING
| EB5 | AIR VENT
| EB6 | AIRMASTER FAN |  |  | 15%
| EB7 | ALNOR
|  | AMANA AIR CONDITIONERS |  |  | 10%
| EB8 | AMERIFLOW
| EB9 | AMERIVENT
| EB10 | AMETEK U.S. GAUGE DIVISION |  |  | 10%
| EB11 | AMTROL
| EB12 | APOLLO |  |  | 15%
| EB13 | AQUA-PURE | 11% |  | 10%
|  | ASHCROFT INSTRUMENT |  |  | 10%
| EB14 | ATCO
| EB15 | BACHARACH
|  | BELL & GOSSETT |  |  | 10%
| EB16 | BRADFORD INDUSTRIAL SUPPLY
| EB17 | BROAN | 17%
| EB18 | BULLET
| EB19 | CAMPBELL HAUSFELD | 17% |  | 15%
| EB20 | CENTURY
|  | CLEPCO |  |  | 10%
| EB21 | CLEVELAND CONTROLS
|  | COILHOUSE PNEUMATICS |  |  | 10%
| EB22 | COMPRESSOR UNLTD.
| EB23 | CONBRACO INDUSTRIES
| EB24 | CUNO | 11% |  | 15%
| EB25 | DAYTON |  | 10-30%
| EB26 | DEWALT |  | 38% | 40-48%
| EB27 | DIVERSITECH
| EB28 | DORMONT |  |  | 10%
|  | DRI-EAZ |  |  | 10%
| EB29 | DWYER INSTRUMENTS | 17%
|  | EMERSON CLIMATE TECHNOLOGIES |  |  | 10%
| EB30 | EMPIRE
| EB31 | ESSICK AIR PRODUCTS
| EB32 | FANTECH | 16% |  | 15%
| EB33 | FANTECH INC. | 16% |  | 15%
|  | FC KINGSTON |  |  | 10%
| EB34 | FLUKE CORPORATION | 11% |  | 10%
| EB35 | FORANE
| EB36 | FRIEDRICH |  |  | 25%
| EB37 | FRIGIDAIRE
|  | FROST KING |  |  | 10%
| EB38 | GOODMAN
|  | GOODYEAR |  |  | 10%
|  | GRASSLIN CONTROLS |  |  | 10%
| EB39 | HAIER |  |  | 25%
| EB40 | HANKISON |  |  | 10%
|  | HI-TECH HOSE |  |  | 10%
| EB41 | HONEYWELL | 12% |  | 20%
| EB42 | HONEYWELL, INC. | 12% |  | 20%
| EB43 | HOSE MASTER
| EB44 | HUNTER
|  | HYLOMAR |  |  | 10%
| EB45 | ICM
| EB46 | IMPERIAL |  |  | 15%
| EB47 | IMPORT ECO(NOMY)
| EB48 | INGERSOLL-RAND/ARO |  |  | 25%
| EB49 | J/B
|  | KING INSTRUMENT CO |  |  | 10%
| EB50 | KNAUF
|  | LAKEAIR |  |  | 10%
| EB51 | LIGHTSTAT
| EB52 | LITTLE GIANT | 17% |  | 20%
|  | LYTRON |  |  | 10%
| EB53 | MANITOWOC
|  | MARKEL HEATERS |  |  | 10%
|  | MARLEY |  |  | 10%
| EB54 | MATSUSHITA
| EB55 | MAXESS |  |  | 18%
| EB56 | MAXUS
| EB57 | MOVINCOOL |  |  | 15%
| EB58 | MSA |  |  | 10%
| EB59 | MUELLER | 17% |  | 21%
| EB60 | NOMACO KFLEX
|  | NORGREN |  |  | 10%
| EB61 | NORTH SAFETY |  |  | 10%
| EB62 | NU-CALGON |  |  | 15%
|  | NULINE |  |  | 35%
| EB63 | PARKER |  |  | 20%
| EB64 | PECO
| EB65 | PENTEK
| EB66 | PORT-A-COOL | 5% |  | 15%
| EB67 | PORTALS PLUS | 12%
| EB68 | PORTER-CABLE |  |  | 35-40%
| EB69 | PROCOM
|  | QMARK |  |  | 10%
| EB70 | RANCO
| EB71 | RAYCHEM
| EB72 | RB AKINS
| EB73 | RD AKINS
| EB74 | REVCOR
| EB75 | ROBERTSHAW
| EB76 | ROBINAIR |  |  | 10%
|  | SHURFLO |  |  | 10%
|  | SLANT / FIN |  |  | 10%
| EB77 | SPEEDAIRE
| EB78 | SPORLAN CO
| EB79 | STERLING
| EB80 | SUPCO |  |  | 15%
| EB81 | TAYLOR PRECISION PRODUCTS,LP |  |  | 10%
|  | THOMAS INDUSTRIES |  |  | 10%
| EB82 | TIF
| EB83 | TJERNLUND
| EB84 | TPI CORP.-FANS/HEATERS | 15% |  | 30-35%
| EB85 | TRANE
| EB86 | UNITED REFRIGERATION INC
| EB87 | USA
| EB88 | VIRGINIA KMP
| EB89 | WATSON MCDANIEL
|  | WEISS INSTRUMENTS |  |  | 10%
|  | WEKSLER |  |  | 10%
| EB90 | WESTAFLEX
| EB91 | WHITE-RODGERS |  |  | 20%
| EB92 | WIKA INSTRUMENT CORPORATION |  |  | 10%
| EB93 | WINNELSON
| EB94 | WOODS
| EB95 | YELLOW-JACKET

## Tier 3
State of Oklahoma
Maintenance, Repair, and Operations (MRO)
SW 10817
updated March 3, 2010
TIER 3 (Blanket Discount Percentages)
|  | Category | Fastenal | Gexpro | Grainger | H-I-S Paint | MSC
|  | Electrical Supplies | 23% | 22% | 10% |  | 10%
|  | Fasteners | 45% |  | 10% |  | 10%
|  | General Maintenance | 22% |  | 10% |  | 10%
|  | HVAC | 23% |  | 10% |  | 10%
|  | Janitorial Supplies | 23% |  | 10% |  | 10%
|  | Paint and Supplies | 23% |  | 10% | 20% | 10%
|  | Plumbing Supplies | 23% |  | 10% |  | 10%

## Rush Delivery
State of Oklahoma
Maintenance, Repair, and Operations (MRO)
SW 10817
Rush Delivery Charges
updated March 3, 2010
|  | Fastenal | Gexpro | Grainger | H-I-S | MSC
| Primary Carrier | UPS, R&L Carriers, Conway | FedEx | UPS | Beaver Express, UPS | UPS and various LTL carriers
| Weight Tier | Rush Delivery Charge ($) | Rush Delivery Charge ($) | Rush Delivery Charge ($) | Rush Delivery Charge ($) | Rush Delivery Charge ($)
| Less than 1lb | 16.33 | 8.49 | 0 | 12.63 | 0
| 1lb - 5lb | 24.86 | 11.84 | 0 | 12.63 | 0
| 6lb - 10lb | 40 | 15 | 0 | 14.97 | 0
| 11lb - 20lb | 62.8 | 21 | 0 | 20.86 | 0
| 21lb - 50lb | 131.5 | 39 | 0 | 32.94 | Free Standard Shipping- Special Delivery Charges determined by UPS zone-weight chart
| 51lb - 100lb | 175 | 79.5 | 0 | 50.28
| 101lb - 200lb | Cost of rush shipments will be verified at the time of the order being placed. Pricing listed on this sheet is based on current rates plus 10% as of 11-12-2009. | 143 | 0 | 63.56
| 201lb - 300lb |  | Shipments in this weight range will require other than FedEx delivery - normally a per mile charge currently $2.75/mile. | 0 | 65.59
| 301lb - 400lb |  |  | 0 | 76.79
| 401lb - 500lb |  |  | 0 | 85.12

## Discounts and Incentives
State of Oklahoma
Maintenance, Repair, and Operations (MRO)
SW 10817
Discounts and Incentives
updated March 3, 2010
Annual Volume Rebate
The year-end rebate based if annual sales from ALL Contract Users reach or exceed the following thresholds. This rebate will be issued to each User Agency on an annual basis.
|  | Annual Spending | Fastenal | Gexpro | Grainger | H-I-S | MSC
|  | 1000000 | 1% |  |  |  | 0.5%
|  | 2000000 | 1% |  |  |  | 0.75%
|  | 5000000 | 1% | 0.125% |  |  | 1%
|  | 10000000 | 1% | 0.25% |  |  | 1.25%
|  | $10,000,000 + | 1% | 0.5% | 1% |  | 1.5%
Volume Consolidation Discount
Additional discount percentage to be applied by the vendor.
|  | No. of Categories Awarded | Fastenal | Gexpro | Grainger | H-I-S | MSC
|  | 2 | 1%
|  | 3 | 1%
|  | 4 | 2%
|  | 5 | 2%
|  | 6 | 2%
|  | 7 | 3%
|  | 8 | 3%
Payment Term Discounts
Additional discount if the invoice is cleared within the following number of days
|  | Payment Terms | Fastenal | Gexpro | Grainger | H-I-S | MSC
|  | Invoice paid in 10 days |  | 2%
Transaction Based Discount
Discount percentage to be applied on any single transaction that exceeds the following thresholds.
|  | Transaction Total | Fastenal | Gexpro | Grainger | H-I-S | MSC
|  | $100,000 + |  | 0.5%