Description of Amendment - continuing

	OKLAHOMA DEPARTMENT OF TRANSPORTATION [image: image1.png]JMES

OFFICE OF MANAGEMENT
& ENTERPRISE SERVICES




	
	Amendment of Solicitation



	Date of  Issuance:
	04/20/2016
	Solicitation No.
	3450004601

	Requisition No.
	3450029634     
	Amendment No.
	1

	Hour and date specified for receipt of offers is changed:
	X No 
	 Yes, to:
	     
	3:00 PM CST/CDT

	Pursuant to OAC 260:115-7-30(d), this document shall serve as official notice of amendment to the Solicitation identified above. Such notice is being provided to all suppliers to which the original solicitation was sent. 

Suppliers submitting bids or quotations shall acknowledge receipt of this solicitation amendment prior to the hour and date specified in the solicitation as follows:

(1)  Sign and return a copy of this amendment with the solicitation response being submitted; or,

(2)  If the supplier has already submitted a response, this acknowledgement must be signed and returned prior to the solicitation deadline. All amendment acknowledgements submitted separately shall have the solicitation number and bid opening date printed clearly on the front of the envelope.

	ISSUED BY and RETURN TO:

	U.S. Postal Delivery or Personal or Common Carrier Delivery:

OKLAHOMA DEPARTMENT OF TRANSPORTATION
200 NE 21ST STREET

Oklahoma City, OK 73105
	MATHUKUTTY SAMUEL
	

	
	Contracting Officer
	

	
	405 – 521-2658    -      
	

	
	Phone  Number
	

	
	msamuel@odot.org
	

	
	E-Mail  Address
	

	Description of Amendment:

	a. This is to incorporate the following:


	     
As per the meeting on 04/20/2016 morning  the following changes have made and created an addendum to the RFQ.

Under the following:

OFFICE AREA:

OLD:

· Existing incandescent Corridor light and Closet Fixtures shall be replaced with new 4 ft. two lamp fluorescent with wrap around lens and existing switching replaced with a new one.

NEW:

· Existing incandescent Corridor light shall be replaced with new 4 ft. two lamp fluorescent with wrap around lens and existing switching replaced with a new one.

SHOP AREA:

OLD:

· All general purpose receptacles in shop are to be replaced with GFI receptacles.  Dedicated receptacles for the refrigerator, microwave and drinking fountain are to be added.

NEW:
· All general purpose receptacles in shop are to be replaced with 20 Amp receptacles.  Two circuits for the refrigerator, microwave and drinking fountain are to be added.

OLD:

· Installation of two 50A 240V welding receptacles on exterior wall of shop restroom.

NEW:
· Installation of two 50A 240V welding receptacles.  One is to be located on exterior wall of shop restroom and the second is to be located outside shop door with a weather resistant box.

OLD:

· Two quartz fixtures located on exterior wall shall be replaced with a new 400W Metal Halide wall pack.

NEW:

· Two quartz fixtures located on exterior walls shall be replaced with two (2) new TWR2 LED wall packs.




	b. All other terms and conditions remain unchanged.

	
	
	

	Supplier Company Name (PRINT)
	
	Date

	
	
	
	
	

	Authorized Representative Name (PRINT)
	
	Title
	
	Authorized Representative Signature


	OMES FORM CP 011 – Purchasing  |  Rev. 01/2016

	


	OMES/PURCHASING FORM - 011 (10/2012)
	PAGE 2 OF 2



