## Sheet1
Electrical Supplies
Respondents Name:
TIER 1 - FIXED CONTRACT PRICING (INCLUDING STANDARD DELIVERY)
[8 empty] | IDENTICAL PRODUCT | [7 empty] | FUNCTIONAL EQUIVALENT
| Ref # | Product Description | Manufacturer Part Number | Manufacturer | UOM | Qty per UOM | Historical Annual Qty Purchased | Your Part Number | Manufacturer | Manufacturer Part Number | Product Description | UOM | Qty Per UOM | List Price | Contract Price | Your Part Number | Manufacturer | Manufacturer Part Number | Product Description | UOM | Qty Per UOM | List Price | Contract Price
| AA01 | 15amp 120/277 single pole switch | CS115-21 | Leviton | EA | 1 | 100
| AA02 | 20a mp 120/277 three way switch | CS320-21 | Leviton | EA | 1 | 100
| AA03 | 20amp 125 v GFCI receptacle | SGF20W | Eaton | EA | 1 | 500
| AA04 | 15amp 125 v 2 USB port, 2 receptacle | USB15X2W | Hubbell | EA | 1 | 200
| AA05 | 2 port, 18-12 AWG push in wire connector | 30-1032J | Ideal | PK | 300 | 1000
| AA06 | 3 port, 18-12 AWG push in wire connector | 30-1033J | Ideal | PK | 250 | 1000
| AA07 | 4 port, 18-12 AWG push in wire connector | 30-1034J | Ideal | PK | 200 | 1000
| AA08 | 125 v, 20 amp NEMA 5-20R receptacle | CR20-I | Leviton | EA | 1 | 500
| AA09 | 2 port, 600v ballast disconnect | 30-102 | Ideal | PK | 1000 | 200
| AA10 | 15 amp, 600v time delay fuse | FRS-R-15 | Bussmann | EA | 1 | 200
| AA11 | 30 amp, 600v time delay fuse | FRS-R-30 | Bussmann | EA | 1 | 200
| AA12 | 60 amp, 600v time delay fuse | FRS-R-60 | Bussmann | EA | 1 | 200
| AA13 | THHN 12 AWG,350ft building wire, black/white/green | Simpull 58389703 | Southwire | ROLL | 1 | 10000
| AA14 | Twist on wire connector, Blue/Orage | 054007-43153 O/B+Jug | 3M | PK | 500 | 5000
| AA15 | Twist on wire connector, Red/Yellow | 054007-43155 R/Y+Jug | 3M | PK | 500 | 5000
| AA16 | THHN , 6AWG, black | 20493346 | Southwire | FT | 100 | 20000
| AA17 | THHN, 10 AWG, green | 22977301 | Southwire | FT | 500 | 20000
| AA18 | MC cable, 12 AWG, 2 w/ground | 2104S42-00 | AFC | FT | 250 | 15000
| AA19 | 1/2 HP 277v, 1075 rpm Split Cap motor, NEMA 48YZ | #602 - Mod K055RWB9538022B | US Motor | EA | 1 | 100
| AA20 | 3/4 x 12 yd electrical tape, black | 33 Super | 3M | EA | 1 | 800
| AA21 | 125v, 15amp NEMA 5-15P Straight plug | 5266-C | Leviton | EA | 1 | 1000
| AA22 | 125v, 15amp NEMA 5-15R Straight connector | 5269-C | Leviton | EA | 1 | 1000
| AA23 | 25 HP, 3 ph, 230/460v motor, NEMA 284T | EM2531T | Baldor | EA | 1 | 100
| AA24 | Safety Switch, 30A | HU361RB | Square D | EA | 1 | 500
| AA25 | Motion Sensor, Infrated, Ultrasonic | AD1277L1N | Hubbell Wiring | EA | 1 | 300
| AA26 | Motor, Starter, NEMA, 120VAC | 8536SDO1V025 | Square D | EA | 1 | 100
| AA27 | Coupling, 3/4" Conduit, Steel | 2023 | Raco | EA | 1 | 5000
| AA28 | Box, Cover, Blank, 4 1/8" | 752 | Raco | EA | 1 | 500