## BTC Lvl2 40A Pedistal
Equipment Installed Price
Model # |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| 40A Dual Pedestal Retractors | 15103 |  | 0% | 15103
Accessories
Model # |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| RFID Reader* | included |  | 0% | 0
| Credit Card Reader* | included |  | 0% | 0
Electrical Work
Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
Ditch Trenching |  | included | 50ft
Additional Ditch Trenching |  | 30 | ft. | 0% | 30
Underground Boring |  | included | 50ft
Additional Underground Boring |  | 30 |  | 0% | 30
Conduit Installation |  | included
Breaker Panel Installation |  | included
Wiring |  | included
Labor |  | included
Other (Please Specify)
New Electrical Service (not typically required) |  | 11500 |  |  | 11500
Overall Implementation cost for a complete EVSE Start-up
Model # |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
included
Maintenance | (Includes Travel Charges)
Hourly NTE Rate
|  | 140 |  | 31.5% | 95.9
Repair Parts
Model #/ Part Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| detailed list upon request |  |  |  | cost + 15%
Repair (Includes Travel Charges)
Hourly NTE Rate
|  | 140 |  | 31.5% | 95.9
Training (Includes Travel Charges)
Hourly NTE Rate
|  | 140 |  | 31.5% | 95.9
Operational and Transactional Fees
Model #/ Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| Cellular Communications | 144 | Year | 0% | 144 | Year
| Networking Fees | 360 | Year | 0% | 360 | Year
| CC Merchant Processing | 17.95 | Month | 0% | 17.95 | Month
Other Value-Adds Options or Services
Model #/ Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
Parts Stock in Oklahoma
Financing Available
| Operations & Maintenance* | 876 | year | 0% | 876
*Doesn't include Parts

## BTC Lvl2 40A Wall
Equipment Installed Price
Model # |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
EVP-2002-40 | 40A Dual Wall mount Retractors | 14653 |  | 0% | 14653
Accessories
Model # |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| RFID Reader* | included |  | 0% | 0
| Credit Card Reader* | included |  | 0% | 0
Electrical Work
Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
Ditch Trenching |  | included | 50ft
Additional Ditch Trenching |  | 30 | ft. | 0% | 30
Underground Boring |  | included | 50ft
Additional Underground Boring |  | 30 |  | 0% | 30
Conduit Installation |  | included
Breaker Panel Installation |  | included
Wiring |  | included
Labor |  | included
Other (Please Specify)
New Electrical Service (not typically required) |  | 11500 |  |  | 11500
Overall Implementation cost for a complete EVSE Start-up
Model # |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
included
Maintenance | (Includes Travel Charges)
Hourly NTE Rate
|  | 140 |  | 31.5% | 95.9
Repair Parts
Model #/ Part Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| detailed list upon request |  |  |  | cost + 15%
Repair (Includes Travel Charges)
Hourly NTE Rate
|  | 140 |  | 31.5% | 95.9
Training (Includes Travel Charges)
Hourly NTE Rate
|  | 140 |  | 31.5% | 95.9
Operational and Transactional Fees
Model #/ Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| Cellular Communications | 144 | Year | 0% | 144 | Year
| Networking Fees* | 360 | Year | 0% | 360 | Year
| CC Merchant Processing | 17.95 | Month | 0% | 17.95 | Month
Other Value-Adds Options or Services
Model #/ Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
Parts Stock in Oklahoma
Financing Available
| Operations & Maintenance* | 876 | year | 0% | 876
*Doesn't include Parts

## BTC 50kW DCFC
Equipment Installed Price
Model # |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
L4R-50 | 50KW DCFC Single | 70160 |  | 0% | 70160
Accessories
Model # |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| RFID Reader* | included |  | 0% | 0
| Credit Card Reader* | included |  | 0% | 0
Electrical Work
Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
Ditch Trenching |  | included | 100ft
Additional Ditch Trenching |  | 50 | ft. | 0% | 50
Underground Boring |  | included | 100ft
Additional Underground Boring |  | 50 |  | 0% | 50
Conduit Installation |  | included
Breaker Panel Installation |  | included
Wiring |  | included
Labor |  | included
Other (Please Specify)
New Electrical Service |  | 11500 |  |  | 11500
Overall Implementation cost for a complete EVSE Start-up
Model # |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
included
Maintenance | (Includes Travel Charges)
Hourly NTE Rate
|  | 140 |  | 31.5% | 95.9
Repair Parts
Model #/ Part Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| detailed list upon request |  |  |  | cost + 15%
Repair (Includes Travel Charges)
Hourly NTE Rate
|  | 140 |  | 31.5% | 95.9
Training (Includes Travel Charges)
Hourly NTE Rate
|  | 140 |  | 31.5% | 95.9
Operational and Transactional Fees
Model #/ Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| Cellular Communications | 144 | Year | 0% | 144 | Year
| Networking Fees* | 300 | Year | 0% | 300 | Year
| CC Merchant Processing | 17.95 | Month | 0% | 17.95 | Month
Other Value-Adds Options or Services
Model #/ Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
Parts Stock in Oklahoma
Financing Available
| Operations & Maintenance* | 1308 | year | 0% | 1308
*Doesn't include Parts

## BTC 100kW DCFC
Equipment Installed Price
Model # |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
L4R-100 | 100KW DCFC Dual | 88595 |  | 0% | 88595
Accessories
Model # |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| RFID Reader* | included |  | 0% | 0
| Credit Card Reader* | included |  | 0% | 0
Electrical Work
Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
Ditch Trenching |  | included | 100ft
Additional Ditch Trenching |  | 60 | ft. | 0% | 60
Underground Boring |  | included | 100ft
Additional Underground Boring |  | 60 |  | 0% | 60
Conduit Installation |  | included
Breaker Panel Installation |  | included
Wiring |  | included
Labor |  | included
Other (Please Specify)
New Electrical Service |  | 12500 |  |  | 12500
Overall Implementation cost for a complete EVSE Start-up
Model # |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
included
Maintenance | (Includes Travel Charges)
Hourly NTE Rate
|  | 140 |  | 31.5% | 95.9
Repair Parts
Model #/ Part Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| detailed list upon request |  |  |  | cost + 15%
Repair (Includes Travel Charges)
Hourly NTE Rate
|  | 140 |  | 31.5% | 95.9
Training (Includes Travel Charges)
Hourly NTE Rate
|  | 140 |  | 31.5% | 95.9
Operational and Transactional Fees
Model #/ Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| Cellular Communications | 144 | Year | 0% | 144 | Year
| Networking Fees* | 600 | Year | 0% | 600 | Year
| CC Merchant Processing | 17.95 | Month | 0% | 17.95 | Month
Other Value-Adds Options or Services
Model #/ Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
Parts Stocked in Oklahoma
Financing Available
| Operations & Maintenance* | 1308 | year | 0% | 1308
*Doesn't include Parts

## BTC 2- 50kW DCFC
Equipment Installed Price
Model # |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| 2- 50kW Dispensers 100kW | 216346 |  | 0% | 216346
Accessories
Model # |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| RFID Reader* | included |  | 0% | 0
| Credit Card Reader* | included |  | 0% | 0
Electrical Work
Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
Ditch Trenching |  | included | 100ft
Additional Ditch Trenching |  | 50 | ft. | 0% | 50
Underground Boring |  | included | 100ft
Additional Underground Boring |  | 50 |  | 0% | 50
Conduit Installation |  | included
Breaker Panel Installation |  | included
Wiring |  | included
Labor |  | included
Other (Please Specify)
New Electrical Service |  | 15500 |  | 0% | 15500
Overall Implementation cost for a complete EVSE Start-up
Model # |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
included
Maintenance | (Includes Travel Charges)
Hourly NTE Rate
|  | 140 |  | 31.5% | 95.9
Repair Parts
Model #/ Part Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| detailed list upon request |  |  |  | cost + 15%
Repair (Includes Travel Charges)
Hourly NTE Rate
|  | 140 |  | 31.5% | 95.9
Training (Includes Travel Charges)
Hourly NTE Rate
|  | 140 |  | 31.5% | 95.9
Operational and Transactional Fees
Model #/ Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| Cellular Communications | 144 | Year | 0% | 144 | Year
| Networking Fees* | 600 | Year | 0% | 600 | Year
| CC Merchant Processing | 17.95 | Month | 0% | 17.95 | Month
Other Value-Adds Options or Services
Model #/ Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
Parts Stocked in Oklahoma
Financing Available
| Operations & Maintenance* | 1561 | year | 0% | 1561
*Doesn't include Parts

## BTC 4- 50kW DCFC
Equipment Installed Price
Model # |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| 4- 50kW Dispensers 200kW | 389423 |  | 0% | 389423
Accessories
Model # |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| RFID Reader* | included |  | 0% | 0
| Credit Card Reader* | included |  | 0% | 0
Electrical Work
Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
Ditch Trenching |  | included | 100ft
Additional Ditch Trenching |  | 50 | ft. | 0% | 50
Underground Boring |  | included | 100ft
Additional Underground Boring |  | 50 |  | 0% | 50
Conduit Installation |  | included
Breaker Panel Installation |  | included
Wiring |  | included
Labor |  | included
Other (Please Specify)
New Electrical Service |  | 17500 |  | 0% | 17500
Overall Implementation cost for a complete EVSE Start-up
Model # |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
included
Maintenance | (Includes Travel Charges)
Hourly NTE Rate
|  | 140 |  | 31.5% | 95.9
Repair Parts
Model #/ Part Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| detailed list upon request |  |  |  | cost + 15%
Repair (Includes Travel Charges)
Hourly NTE Rate
|  | 140 |  | 31.5% | 95.9
Training (Includes Travel Charges)
Hourly NTE Rate
|  | 140 |  | 31.5% | 95.9
Operational and Transactional Fees
Model #/ Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
| Cellular Communications | 144 | Year | 0% | 144 | Year
| Networking Fees* | 1200 | Year | 0% | 1200 | Year
| CC Merchant Processing | 17.95 | Month | 0% | 17.95 | Month
Other Value-Adds Options or Services
Model #/ Description |  | Unit Cost |  | % off Unit Cost | Oklahoma Cost
Parts Stocked in Oklahoma
Financing Available
| Operations & Maintenance* | 2067 | year | 0% | 2067
*Doesn't include Parts