ATTACHMENT A

SOLICITATION NO. 3080000378

This Solicitation is a Contract Document and is a request for proposal in connection with the Contract awarded by the Office of Management and Enterprise Services as more particularly described below. Any defined term used herein but not defined herein shall have the meaning ascribed in the General Terms or other Contract Document.

PURPOSE

The Contract is awarded as an agency specific contract on behalf of the Oklahoma State Bureau of Investigation, OSBI, Forensic Science Center for drug and toxicology instrument consumables and consumable maintenance supplies.

1.	Contract Term and Renewal Options

The initial Contract term, which begins the effective date of the Contract, is one (1) year and there are two (2) one-year options to renew the Contract.

2.	Certain Contract requirements and terms are attached hereto as Exhibit 1 and incorporated herein.

2.1	Mandatory Specifications and Requirements

|  | Requirement Description | Manufacturer & Product ID | Historical Qty | Current UOM |
| --- | --- | --- | --- | --- |
| 1 | 5uL Fixed, Cone Needle Syringe | Agilent #5181-8810 equivalent and/or better | 4 | 6/pack |
| 2 | 10uL Fixed, Cone Needle Syringe | Agilent #5181-3360 equivalent and/or better | 7 | 6/pack |
| 3 | Inlet liner O-ring, non-stick fluorocarbon | Agilent #5188-5365 equivalent and/or better | 40 | 10/pack |
| 4 | Inlet liner O-ring, non-stick, for Agilent Flip Top Inlet | Agilent #5188-5366 equivalent and/or better | 1 | 10/pack |
| 5 | Filament, high temperature, EI ion source | Agilent #G7005-60061 | 32 | 1 each |
| 6 | Split vent replacement cartridge | Agilent G1544-80530 equivalent and/or better | 18 | 2/pack |
| 7 | Ferrule, 0.4 mm id, preconditioned for MSD interface, 15% graphite/ 85% Vespel, 0.25 mm column, long, recommended Agilent GS/MS transfer lines with MS interface column nut (GCMS Transfer Line) | Agilent # 5062-3508 | 2 | 10/pack |
| 8 | Ferrule, graphite, 1 mm id, for 0.53 mm capillary columns (GC Inlet and FID) | Agilent # 5080-8773 | 5 | 10/pack |
| 9 | Ferrule, 0.4 mm id, 15% graphite/ 85% Vespel, 0.1 to 0.25 mm column (GCMS Inlet) | Agilent #5181-3323 | 5 | 10/pack |
| 10 | Inlet septa, bleed and temperature optimized (BTO), non-stick, 11 mm | Agilent #5183-4757 equivalent and/or better | 8 | 50/pack |
| 11 | Inlet liner, splitless, straight, 4 mm id, 990 µL volume | Agilent #210-3003-5 equivalent and/or better | 80 | 5/pack |
| 12 | Inlet liner, split, straight, with glass wool, 4 mm id, 990 µL volume | Agilent #5183-4691 equivalent and/or better | 10 | 5/pack |
| 13 | GC inlet seal, gold plated, with washer (GC) | Agilent #5190-2209 | 14 | 10/pack |
| 14 | GC inlet seal, gold plated, with cross (GCMS) | Agilent #5182-9652 | 48 | 1 each |
| 15 | Washers, 0.375 inch od (GCMS) | Agilent #5061-5869 | 4 | 12/pack |
| 16 | J&W DB-1 GC Column, 15 m, 0.53 mm, 1.5 µm, 7 inch cage (GC) | Agilent #125-1012 | 8 | 1 each |
| 17 | J&W DB-1 GC Column, 12 m, 0.20 mm, 0.33 µm, 7 inch cage (GCMS) | Agilent #128-1012 | 8 | 1 each |
| 18 | Zebron ZB-1MS column for mass spec--12 meters, .20 mm, .33um --temperature limits of at least 350 degrees (GCMS) | Phenomenex 7DE-G011-14 | 8 | 1 each |
| 19 | Zebron ZB-1 column for GC, 15 meters, 0.53 mm, 1.5um--temperature limit of at least 340 degrees (GC) | Phenomenex 7EK-G001-28 | 8 | 1 each |
| 20 | Zebron ZB-50 column for GC, 15 meters, 0.53 mm, 1.00um --temperature limit of at least 320 degrees (GC) | Phenomenx 7EK-G004-22 | 6 | 1 each |
| 21 | Cleaned Copper Tubing, 1/8", 50 ft. | Restek 22628 equivalent and/or better | 1 | 1 each |
| 22 | 11 mm autosampler vial crimp caps, clear PTFE/natural red rubber | Thermo Fisher Scientific C4011-1AP equivalent and/or better | 5 | 100/pack |
| 23 | 11 mm autosampler snap-it caps, clear PTFE/synthetic red rubber, black | Thermo Fisher Scientific C4011-51BLK equivalent and/or better | 40 | 100/pack |
| 24 | 11 mm autosampler snap-it caps, clear PTFE/synthetic red rubber, blue | Thermo Fisher Scientific C4011-51B equivalent and/or better | 60 | 100/pack |
| 25 | 11 mm autosampler snap-it caps, clear PTFE/synthetic red rubber, pink | Thermo Fisher Scientific 60180-676 equivalent and/or better | 50 | 100/pack |
| 26 | 11 mm autosampler snap-it caps, clear PTFE/synthetic red rubber, red | Thermo Fisher Scientific C4011-51R equivalent and/or better | 40 | 100/pack |
| 27 | 11 mm autosampler snap-it caps, clear PTFE/synthetic red rubber, green | Thermo Fisher Scientific C4011-51G equivalent and/or better | 60 | 100/pack |
| 28 | 11 mm autosampler snap-it caps, integral molded in polyethylene, clear | Thermo Fisher Scientific C4011-50 equivalent and/or better | 60 | 100/pack |
| 29 | Vial insert, 250 µL, glass with polymer feet, 5.6 x 30 mm | Restek #21777 equivalent and/or better | 16 | 1000/pack |
| 30 | Plain disposable borosilicate glass tube, 4 mL, 10 x 75 mm | Kimble 73500-1075 equivalent and/or better | 24 | 1000/case |
| 31 | Fisherbrand VersaClosure Tube Closures, any color | Fisher Scientific 02-707-17 through 02-707-24 equivalent and/or better | 24 | 1000/pack |
| 32 | Fisherbrand disposable cotton-plugged borosilicate-glass pasteur pipets, 5.75", 2 mL | Fisher Scientific 13-678-8A equivalent and/or better | 17 | 1000/case |
| 33 | Fisherbrand disposable cotton-plugged borosilicate-glass pasteur pipets, 9", 2 mL | Fisher Scientific 13-678-8B equivalent and/or better | 4 | 1000/case |
| 34 | Fisherbrand Hexagonal Polystyrene Weighting Dishes, 132 mm x 92 mm | Fisher Scientific 02-202-103 equivalent and/or better | 3 | 500/pack |
| 35 | Fisherbrand Hexagonal Polystyrene Weighting Dishes, 110 mm x 85 mm | Fisher Scientific 02-202-102 equivalent and/or better | 4 | 500/pack |
| 36 | Fisherbrand Hexagonal Polystyrene Weighting Dishes, 67 mm x 47 mm | Fisher Scientific 02-202-101 equivalent and/or better | 26 | 500/pack |
| 37 | Fisherbrand Hexagonal Polystyrene Weighting Dishes, 36 mm x 24 mm | Fisher Scientific 02-202-100 equivalent and/or better | 2 | 500/pack |
| 38 | Swagelok Brass Front Ferrule 1/8 in | Swagelok B-203-1 equivalent and/or better | 1 | 40/pack |
| 39 | Swagelok Brass Back Ferrule 1/8 in | Swagelok B-204-1 equivalent and/or better | 1 | 40/pack |
| 40 | Swagelok Fitting, Brass 1/8" Nut | Swagelok B-202-1 equivalent and/or better | 1 | 40/pack |
| 41 | Puritan Hospital Standard Cotton Swab (3 in) | Puritan 803WC HOSPITAL equivalent and/or better | 5 | 1000/case |
| 42 | Puritan Hospital Standard Cotton Swab (6 in) | Puritan 806WC HOSPITAL equivalent and/or better | 17 | 1000/pack |
| 43 | Fisherbrand Plain-Tipped Applicators | Fisher Scientific 22-363-158 equivalent and/or better | 11 | 864/pack |
| 44 | LevGo smartSpatula, micro | LevGo 17231 equivalent and/or better | 11 | 300/pack |
| 45 | 1 1/2 in Carbon Steel #9 Single Edge Razor Blade | Stanley 11-515 equivalent and/or better | 30 | 100/pack |
| 46 | Kimwipes 1 ply (4.4 in x 8.4in) | Kimberly-Clark Professional 34155 equivalent and/or better | 167 | 280/pack |
| 47 | 2 mL Crimp/Snap Top Vials | Phenomenex Part # ARO-3610-13 equivalent and/or better | 32 | 1000/case |
| 48 | Barcode labels, 1001-2000 | Agilent 5958-9441 | 8 | 1000/pack |
| 49 | Barcode labels, 2001-3000 | Agilent 5958-9442 | 8 | 1000/pack |
| 50 | Barcode labels, 3001-4000 | Agilent 5958-9443 | 8 | 1000/pack |
| 51 | Barcode labels, 4001-5000 | Agilent 5958-9444 | 8 | 1000/pack |
| 52 | Barcode labels, 5001-6000 | Agilent 5958-9445 | 7 | 1000/pack |
| 53 | Finntip Flex Filter Pipette Tips 10µl, sterile | Thermo Fisher 94056980 equivalent and/or better | 3 | 960/case |
| 54 | Finntip Flex Filter Pipette Tips 100µl, sterile | Thermo Fisher 94056520 equivalent and/or better | 3 | 960/case |
| 55 | Finntip Flex Filter Pipette Tips 1000µl, sterile | Thermo Fisher 94056710 equivalent and/or better | 3 | 960/case |
| 56 | Finntip Flex Filter Pipette Tips,10ml ext., sterile | Thermo Fisher 94056970 equivalent and/or better | 12 | 50/pack |
| 57 | Pyrex Disposable Conical-Bottom Glass Centrifuge Tubes | Pyrex 99502-10 equivalent and/or better | 8 | 125/case |
| 58 | Corning Disposable Phenolic Cap | Corning 99999-13 equivalent and/or better | 1 | 1000/case |
| 59 | Qorpak Aluminum Weigh Dishes with Tab, 41 mm | Qorpak MET03105 equivalent and/or better | 1 | 1000/case |
| 60 | KIMBLE® 20 mm Headspace Vial, 20 mL, Modified Top and Bottom 1000/cs | Kimble 90S332375BMB equivalent and/or better | 15 | 1000/case |
| 61 | Zebron ZB-5, GC Cap. Column 30 m x 0.32 mm x 0.25 um, Ea | Phenomenex 7HM-G002-11 | 2 | 1 each |
| 62 | Zebron ZB-1, GC Cap. Column 30 m x 0.32 mm x 0.25 um, Ea | Phenomenex 7HM-G001-11 | 2 | 1 each |
| 63 | Agilent Liner, UI, Fritted, Middle, 25pk | 5190-5105-025 UI Liner | 6 | 25/pack |
| 64 | Combitips advanced Eppendorf Quality 2.5 mL: | Eppendorf Catalog No. 0030089448 | 5 | 100/pack |
| 65 | Combitips advanced Eppendorf Quality 10 mL: | Eppendorf Catalog No. 0030089464 | 5 | 100/pack |
| 66 | Aluminum Seal w/Septa 20mm Alum. Silver w/PTFE Silicone Pack of 1000 | Restek 21764 | 15 | 1000/pack |
| 67 | SUN-SRi 501 313 CAP 11MM ORANGE SNAP PTFE/SIL SEPTA 100/PK | SUN-SRi 501 313 equivalent and/or better | 10 | 100/pack |
| 68 | Thermo Scientific RED SNAP-IT SEALS, T/S 100/PK, 1000/CS | Thermo Scientific C4011-54R equivalent and/or better | 10 | 100/pack |
| 69 | Thermo Scientific YELLOW SNAP-IT SEALS, T/S 100/PK, 1000/CS | Thermo Scientific C4011-54Y equivalent and/or better | 10 | 100/pack |
| 70 | Thermo Scientific GREEN SNAP-IT SEALS, T/S 100/PK, 1000/CS | Thermo Scientific C4011-54G equivalent and/or better | 10 | 100/pack |
| 71 | Thermo Scientific SNAP-IT SEALS, T/S 100/PK, 1000/CS | Thermo Scientific C4011-54 equivalent and/or better | 10 | 100/pack |
| 72 | Thermo Scientific BLUE SNAP-IT SEALS, T/S 100/PK, 1000/CS | Thermo Scientific C4011-54B equivalent and/or better | 10 | 100/pack |
| 73 | Thermo Scientific 11MM SNAP CAP, PINK RED PTFE/SILICONE 100/PK | Thermo Scientific 60180-677 equivalent and/or better | 10 | 100/pack |
| 74 | Thermo Scientific SNAP-IT SEAL ALLIANCE BLACK TFE/SILICONE, 100/PK, 1000/CS | Thermo Scientific C4011-54BLK equivalent and/or better | 10 | 100/pack |
| 75 | Kinetex® 2.6 µm C18 100 Å LC Column 75 x 2.1 mm | Phenomenex Part No. 00C-4462-AN | 8 | 1 each |
| 76 | SecurityGuard™ ULTRA Holder for UHPLC Columns 2.1 to 4.6mm ID | Phenomenex Part No. AJ0-9000 | 5 | 1 each |
| 77 | SecurityGuard™ ULTRA Cartridges UHPLC C18 for 2.1mm ID Columns | Phenomenex Part No. AJ0-8782 | 5 | 3/pack |
| 78 | KIMBLE® Plain Disposable Borosilicate Glass Tube, 16 x 100 mm, 15 mL, 1000/case | DWK Life Sciences 73500-16100 equivalent and/or better | 20 | 1000/case |
| 79 | KIMBLE® Screw Thread Cap, PTFE-Faced Rubber, 13-415, 500/case | DWK Life Sciences 73802-13415 equivalent and/or better | 25 | 500/case |
| 80 | KIMBLE® Screw Thread Disposable Centrifuge Tube, 5 mL, 125/case | DWK Life Sciences 73785-5 equivalent and/or better | 100 | 125/case |
| 81 | Thermo Scientific™ ART™ Barrier Specialty Pipette Tips, 180µL, 3072/case | Thermo Scientific™ 2159P | 15 | 3072/case |
| 82 | Fisherbrand™ Large Orifice/Genomic Aerosol-Barrier Tips, 1 mL, 5000/case | Fisher 02-707-180 | 10 | 5000/case |
| 83 | Thermo Scientific™ Finntip™ Filtered Pipette Tips, 5 mL, 270/case | Thermo Scientific 94052550 | 15 | 270/case |
| 84 | Restek Raptor Biphenyl 2.7um 100 x2.1mm LCMS Column | Restek Cat # 9309A12 | 3 | 1 each |