ATTACHMENT A

SOLICITATION NO. 2920000246

This Solicitation is a Contract Document and is an invitation to bid in connection with the Contract awarded by the Office of Management and Enterprise Services as more particularly described below. Any defined term used herein but not defined herein shall have the meaning ascribed in the General Terms or other Contract Document.

PURPOSE

The Contract is awarded as an agency specific contract on behalf of the Oklahoma Department of Environmental Quality, DEQ,  for polystyrene sterile bottles.

1.	Contract Term and Renewal Options

The initial Contract term, which begins on the effective date of the Contract, is one year and there are two (2) one-year options to renew the Contract.

2.	Mandatory Specification and Requirements are set forth below as Exhibit One (1)

2.1	120ml sterile polystyrene bottle(s) [Reference: WV120SBST-200 or equivalent]

a.	120ml vessel with a 100 ml fill line marked on vessel

b.	assembled with screw top lid and shrink-banded seals

c.	meet or exceed United States Environmental Protection Agency, EPA,

9240.0-05A protocol

d.	Accessibility to Certificate of Analysis

e.	Preservation: 10-35 mgs of Sodium Thiosulfate

f.	Labeling: cases and/or vessels: Lot number

g.	Quantity: 200 per case

2.2	290ml sterile polystyrene bottle(s) [ Reference: WV290SB-100 or equivalent]

a.	290ml vessel marked with 100 ml, 200 ml, and 250 ml fill lines.

b.	Assembled with screw top lid and shrink-banded seals.

c.	Meet or exceed EPA 9240.0-05A protocol

d.	Accessibility to Certificate of Analysis

e.	Preservation: None

f.	Labeling: cases and/or vessels: Lot number

g.	Quantity: 100 per case