ATTACHMENT A

SOLICITATION NO.  1310004355

This Solicitation is a Contract Document and is a request for proposal in connection with the Contract awarded by the Office of Management and Enterprise Services as more particularly described below. Any defined term used herein but not defined herein shall have the meaning ascribed in the General Terms or other Contract Document.

PURPOSE

The Contract is awarded on behalf of the Oklahoma Department of Corrections (ODOC) for a water softener system and maintenance at James Crabtree Correctional Center in Helena, Oklahoma.

BACKGROUND

ODOC wishes to lease a water softener system and maintenance for use at James Crabtree Correctional Center.

1.	Contract Term and Renewal Options

This Contract is for a one-year contract for a period of 07/01/2022 – 06/30/2023 with four one-year options to renew at the same terms and conditions.

2.	Scope of Work

The parties agree to the following terms in addition to obligations set forth in other Contract Documents and provide pricing. If softener system(s) need to be replaced/upgraded, the responding supplier acknowledges that no additional costs will be incurred by ODOC/OMES for the Leased Equipment.

- Water Softener System. Brand: Culligan or an approved equal. If bidding alternate, supplier shall include documentation of product(s) being bid.

Manufacturer/Brand/Model Number Bidding: ________________________________

1st year pricing @ $____________ per mo.

2nd year pricing @ $____________ per mo.

3rd year pricing @ $____________ per mo.

4th year pricing @ $____________ per mo.

5th year pricing @ $____________ per mo.

Listed below is are the location and types of current water softeners. Model numbers are

for reference only.

Residential Softeners:

Warden's Residence

Deputy Warden's Residence

Chief of Security's Residence

Commercial Softeners:

Medium Kitchen Dishwasher (1) --9000/30/34--Twin

(2 ea.)--HCE150M-2 Duplex Alternating

Minimum Kitchen Dishwasher--High Flow 22 90,000 Grain Meter

Inmate Housing Units (3 ea.) --9000/60/1 (These will be located in housing units 1,2,3)

Inmate Housing Unit #4—CTM-300-2NC

Inmate Housing Unit #5--PV120BE

Inmate Housing Unit #6--HC150M-2

Minimum Security Housing Unit--CSM 300,000 Grain Metered

Restrictive Housing Unit--HCE150M-2

Laundry--HCE210M-2

Is water softener salt required to be procured from your company in conjunction with this lease?

_________ Yes   _________ No

- Water Softener Salt. 50 pound bag. For use in system on a. Historical usage: 300 bags per month. Bags will be ordered as needed. Over shipments will not be accepted or paid for.

1st year pricing @ $____________ per bag.

2nd year pricing @ $____________ per bag.

3rd year pricing @ $____________ per bag.

4th year pricing @ $____________ per bag.

5th year pricing @ $____________ per bag.