## Concentrator Information
Make/Model | Serial Number | Service type | Facility | If Machine is broken do you know what is wrong with it? | Addition Information you think would help keep Concentrators in good working order
Millenium MLO M10600 | 10600039681 | Monthly Maintenance | CWCC | N/A
Drive Devilbiss/10 Liter | A20903005DS | Monthly Maintenance | DCCC | This concentrator is new with 63.7 hours on it. | The manufacuturer recommends you service this unit when the service indicator comes up on the screen.
Drive Devilbiss/10 Liter | A209180042DS | Monthly Maintenance | DCCC | This concentrator has 5731.1 hours on it. | The manufacuturer recommends you service this unit when the service indicator comes up on the screen.
INVACARE | 1147921-F | Monthly Maintenance | EWCC | N/A
DeVilbiss | B207300576DS | Monthly Maintenance | EWCC | N/A
InvaCare Perfecto | 1147921-F | Monthly Maintenance | HMCC
Devilbiss 525DS | B19A090036DS | Monthly Maintenance | JCCC | N/A
Devilbiss 525DS | B208260437DS | Monthly Maintenance | JCCC | N/A
Invacare Platinum | 05H140500 | Monthly Maintenance | JDCC
EverFLo | 216700 | Monthly Maintenance | JDCC
DeVilbiss | N255299DS | Monthly Maintenance | JDCC
Invacare | Unable to locate | Monthly Maintenance | JDCC
Respirtronics Millennium M10 | 106000055346 | Monthly Maintenance | JEHCC | Machine is functional | I have not had any issues with this concentrator, but our use is rare.
Devilbiss | B198270179DQ | Monthly Maintenance | JHCC | SERVICED IN LATE OCTOBER | Monthly service - Filters changed on regular basis for all machines
Philips Portable | M31020275229F | Monthly Maintenance | JHCC | BROKEN
Devilbiss | B202050062DS | Monthly Maintenance | JHCC | SERVICED IN LATE OCTOBER
Devilbiss | B19522017305 | Monthly Maintenance | JHCC | BROKEN
Perfecto | 149403 | Monthly Maintenance | JHCC | BROKEN
Devilbiss | B213110052125 | Monthly Maintenance | JHCC | BROKEN
Millemium/MVP | 1060000039479 | Monthly Maintenance | JHCC | SERVICED IN LATE OCTOBER
Mellemium/MYD | 106051039910 | Monthly Maintenance | JHCC | BROKEN
Perfecto | 12EF036240 | Monthly Maintenance | JHCC | BROKEN
Devilbiss | B21617044DS | Monthly Maintenance | JHCC | SERVICED IN LATE OCTOBER
Perfecto | IP21 | Monthly Maintenance | JHCC
Devilbiss | B197170092DS | Monthly Maintenance | JHCC | cracked shell - on repair list
Devilbiss | A216210167DS | Monthly Maintenance | JHCC | does not put out any air - whistles
Perfecto | 1147921 | Monthly Maintenance | JHCC | non functional
Millemium/m-10 | 106000039768 | Monthly Maintenance | JHCC | non functional
Millemium/m-10 | 106051039908 | Monthly Maintenance | JHCC | non functional
Millemium/m-10 | 106000039464 | Monthly Maintenance | JHCC | non functional
Millemium/m-10 | 106000040045 | Monthly Maintenance | JHCC | non functional
Millemium/m-10 | 106000040025 | Monthly Maintenance | JHCC | non functional
Millemium/m-10 | 106000040054 | Monthly Maintenance | JHCC | non functional
Invacare | 08FS24722927 | Monthly Maintenance | JHCC | non functional
Invacare | 09ES2431233 | Monthly Maintenance | JHCC | non functional
Everflo | 1299547 | Monthly Maintenance | JHCC | non functional
Invacare | 06AF024143 | Monthly Maintenance | JHCC | non functional
Devilbiss | B19827017700 | Monthly Maintenance | JHCC
Devilbiss | A21621017305 | Monthly Maintenance | JHCC
Perfecto | 1147921 | Monthly Maintenance | JHCC | SERVICED IN LATE OCTOBER - alarm goes off all the time
Invacare | 1147921P | Monthly Maintenance | JHCC | serviced in late October
Millimnium -M10 | 106051034913 | Monthly Maintenance | JHCC | serviced in late October
Millemium M10 | 106000039474 | Monthly Maintenance | JHCC | serviced in late October
Perfecto | 149402 | Monthly Maintenance | JHCC | serviced in late October
Devilbiss | B20924053405 | Monthly Maintenance | JHCC | serviced in late October
Devilbiss | B216130216D1 | Monthly Maintenance | JHCC | serviced in late October - Whistles
Millemium M10 | 106000039457 | Monthly Maintenance | JHCC | serviced in late October
Devilbliss | B216110894ds | Monthly Maintenance | JHCC | serviced in late October - Whistles
Perfecto | 149395 | Monthly Maintenance | JHCC | serviced in late October
Philips - Portable | M310204187873 | Monthly Maintenance | JHCC | serviced in late October
Philips - Portable | M310146301E13 | Monthly Maintenance | JHCC | serviced in late October
Mellemium -M10 | 106051039403 | Monthly Maintenance | JHCC | serviced in late October - does not hold designated O2 level
Devilbiss | B208270137DS | Monthly Maintenance | JLCC
Invacare | 1147921-F | Monthly Maintenance | JLCC
Devilbiss | B208270248DS | Monthly Maintenance | JLCC
Everflo | 1299546 | Monthly Maintenance | JLCC
Everflo | 1284310 | Monthly Maintenance | JLCC
Millennium | 106000039748 | Monthly Maintenance | JLCC
Perfecto | N/A | Monthly Maintenance | JLCC
Millennium | 106000040038 | Monthly Maintenance | JLCC
Devilbiss |  | Monthly Maintenance | MACC
Devilbiss |  | Monthly Maintenance | MACC
Invacare Perfecto 2 | IRC5P02V | Monthly Maintenance | MACC
EverFLo | 1262397 | Monthly Maintenance | MBCC | In working order | In working order
EverFLo | 1284123 | Monthly Maintenance | MBCC | In working order | In working order
EverFLo | 1284237 | Monthly Maintenance | MBCC | In working order | In working order
EverFLo | 1299438 | Monthly Maintenance | MBCC | In working order | In working order
Gibson IvaCare | DE2605846001 | Monthly Maintenance | MBCC | In working order | In working order
InvaCare Perfecto 2 TM V | IP 21 1147921-F | Monthly Maintenance | NFCC | N/A - working
InvaCare Perfecto 2 TM V | IP 21 1147921-F | Monthly Maintenance | NFCC | N/A - working
InvaCare Perfecto 2 TM V | IP 21 1147921-F | Monthly Maintenance | NFCC | N/A - working
InvaCare Perfecto 2 TM V | IP 21 1147921-F | Monthly Maintenance | NFCC | N/A - working
Respironics Millenium M10 | 10600039484 | Monthly Maintenance | NFCC | N/A - working
Respironics Millenium M10 | 10600039482 | Monthly Maintenance | NFCC | N/A - working
Philips Respironics Everflo | 1180927 | Monthly Maintenance | NOCC
IRC5PO2V | 20FF022738 | Monthly Maintenance | OKCCC | N/A
Invacare Perfecto 2 | 1147921C | Monthly Maintenance | OSP
Invacare Perfecto 2 | 1147921F | Monthly Maintenance | OSP | Warning Light on
Devilbiss | B208260439DS | Monthly Maintenance | OSP | Beeping and Maintenance light on
Dynarex | 4605300037 | Monthly Maintenance | OSP
Everflo | 1155709 | Monthly Maintenance | OSP | Shuts on and off intermittently
Devilbiss | 683155DS | Monthly Maintenance | OSR
Millennium M10 Respironics | 106051004964 | Monthly Maintenance | OSR
Invacare Platinum | Unable to locate | Monthly Maintenance | OSR
Devilbiss | F682670DS | Monthly Maintenance | OSR
IRC5PO2V | 20FF022740 | Monthly Maintenance | UCCCC | N/A
Invacare Platinum 10L | IRC10LX02 | Monthly Maintenance | JBCC | Machine works | Machine has 368hrs of usage
Drive Devilbiss/10 Liter | A209180026DS | Monthly Maintenance | DCCC | This concentrator has 7.8 hours on it. | The manufacuturer recommends you service this unit when the service indicator comes up on the screen.
Invacare® Perfecto₂™ Oxygen Concentrator | No SN found | Monthly Maintenance | LCC | Alarm going off | Located in basement
Invacare® Perfecto₂™ 5 Liter Oxygen Concentrator | No SN found | Monthly Maintenance | LCC | Alarm going off | Located in basement
Invacare® Perfecto₂™ Oxygen Concentrator | No SN found | Monthly Maintenance | LCC | Alarm going off | Located in basement
DeVilbiss Oxygen Concentrator | Unable to see from cage | Monthly Maintenance | LCC | Alarm going off | Located in basement
DeVilbiss Oxygen Concentrator | Unable to see from cage | Monthly Maintenance | LCC | Alarm going off | Located in basement
DeVilbiss Oxygen Concentrator | Unable to see from cage | Monthly Maintenance | LCC | Alarm going off | Located in basement
DeVilbiss 5 Liter Oxygen Concentrator | Unable to see from cage | Monthly Maintenance | LCC | Alarm going off | Located in basement
DeVilbiss 5 Liter Oxygen Concentrator | B217090101DS | Monthly Maintenance | LCC | Yellow Low Oxygen light is illuminated. | Located inback room in ER
DeVilbiss 5 Liter Oxygen Concentrator | B217090101DS | Monthly Maintenance | LCC | Yellow Low Oxygen light is illuminated. | Located in back room in ER
Invacare® Perfecto₂™ 5 Liter Oxygen Concentrator | No SN found | Monthly Maintenance | LCC | Yellow light illuminated | Located in back room in ER
Invacare® Perfecto₂™ 5 Liter Oxygen Concentrator | No SN found | Monthly Maintenance | LCC | Yellow light illuminated | Located in back room in ER
DeVilbiss 10 Liter Oxygen Concentrator | A209030051DS | Monthly Maintenance | LCC | Yellow Low Oxygen light is illuminated. | Located in back room in ER
DeVilbiss 10 Liter Oxygen Concentrator | A209030019DS | Monthly Maintenance | LCC | Yellow Low Oxygen light is illuminated. | Located in back room in ER
Invacare 5 Liter Oxygen Concentrator | No SN found | Monthly Maintenance | LCC | Yellow Low Oxygen light is illuminated. | Located in back room in ER
DeVilbiss 5 Liter Oxygen Concentrator | B21B080804DS | Monthly Maintenance | LCC | Works-Not in use | Located in CC office
DeVilbiss 5 Liter Oxygen Concentrator | B21B080813DS | Monthly Maintenance | LCC | Works-Not in use | Located in CC office
DeVilbiss 5 Liter Oxygen Concentrator | B197170156DS | Monthly Maintenance | LCC | Works-Not in use | Located in CC office
Invacare® Perfecto₂™ 5 Liter Oxygen Concentrator | No SN found | Monthly Maintenance | LCC | Works-Not in use | Located in CC office
Invacare® Platinum 10 Liter Oxygen Concentrator | No SN found | Monthly Maintenance | LCC | Works-Not in use | Located in CC office
DeVilbiss 5 Liter Oxygen Concentrator | B21B101147DS | Monthly Maintenance | LCC | Works-ODOC #205116 | Located in INF
DeVilbiss 5 Liter Oxygen Concentrator | B217080683DS | Monthly Maintenance | LCC | Works-ODOC #143133 | Located in INF
DeVilbiss 5 Liter Oxygen Concentrator | B21B150612DS | Monthly Maintenance | LCC | Works-NEW-Not in use | Located in CHSA's office
DeVilbiss 5 Liter Oxygen Concentrator | B21B230226DS | Monthly Maintenance | LCC | Works-NEW-Not in use | Located in CHSA's office
Respironics Oxygen Concentrator | B21B170339DS | Monthly Maintenance | LCC | Works-ODOC #542581 | LCC-MED YARD
Respironics Oxygen Concentrator | 129834 | Monthly Maintenance | LCC | Works-ODOC #83753 | LCC-MED YARD
Everflow 5 Liter Oxygen Concentrator | 1299448 | Monthly Maintenance | LCC | Works-ODOC #91404 | Unit 7
DeVilbiss 5 Liter Oxygen Concentrator | B197170096DS | Monthly Maintenance | LCC | Works-ODOC #114751 | Unit 7
DeVilbiss 5 Liter Oxygen Concentrator | B217270869DS | Monthly Maintenance | LCC | Works-ODOC #876830 | Unit 7

## Facility Address Information
Oklahoma Department of Corrections
Facility | Column2 | Shipping Address | City | State | Zip
Clara Waters Community Corrections Center | CWCC | 9901 N. I-35 Service Road | Oklahoma City | OK | 73131
Dick Conner Correctional Center | DCCC | 129 Conner Road | Hominy | OK | 74035
Eddie Warrior Correctional Center | EWCC | 400 Oak Street | Taft | OK | 74463
Howard McLeod Correctional Center | HMCC | 19603 E. Whipporwill Lane | Atoka | OK | 74525
Jackie Brannon Correctional Center | JBCC | 900 N. West Street | McAlester | OK | 74502
James Crabtree Correctional Center | JCCC | 216 N. Murray Street | Helena | OK | 73741
Jess Dunn Correctional Center | JDCC | 601 S. 124th Street West | Taft | OK | 74463
Jim E. Hamilton Correctional Center | JEHCC | 53468 Mineral Springs Road | Hodgen | OK | 74939
John Lilley Correctional Center | JLCC | 105150 N. 3670 Road | Boley | OK | 74829
Joseph Harp Correctional Center | JHCC | 16161 Moffat Road | Lexington | OK | 73051
Lawton Community Corrections Center | LCC | 605 Southwest Coombs Road | Lawton | OK | 73501
Lexington Assessment and Reception Center | LARC | 15151 Highway 39 | Lexington | OK | 73051
Mabel Bassett Correctional Center | MBCC | 29501 Kickapoo Road | Mcloud | OK | 74851
Mack Alford Correctional Center | MACC | 13001 N. Hwy 69 | Atoka | OK | 74525
Northeast Oklahoma Correctional Center | NOCC | 442586 E. 250 Road | Vinita | OK | 74301
Oklahoma City Community Correction Center | OCCC | 315 West I-44 Service Road | Oklahoma City | OK | 73118
Oklahoma State Penitentiary | OSP | 1301 N. West Street | McAlester | OK | 74502
Oklahoma State Reformatory | OSR | 1700 E. 1st Street | Granite | OK | 73547
Union City Community Corrections Center | UCCCC | 700 N. State Highway 81 | Union City | OK | 73090
North Fork Community Corrections Center | NFCC | 1605 E. Main Street | Sayre | OK | 73662