## EXHIBIT 1

- Intent of Specifications

### The intent of this bid solicitation is for the maintenance and service contract for certain monitoring and detection equipment purchased with ODEMHS/DHS grant funding.  The State of Oklahoma intends to enter a contract that will ensure the monitoring and detection equipment remains in a constant state of readiness.  The focus of the contract will be performing site visits, replacing sensors, calibration, and other maintenance that is needed or required.

- Service

  - It is the intent of the Supplier to ensure that parts, maintenance, and service are readily available for the equipment specified.

### All Suppliers are to provide the following items.

#### An authorized service center for maintenance of Chemical Biological Radiation Nuclear Explosive (CBRNE) equipment.

#### provide 365 days per year/twenty-four (24) hour technical support

#### with a toll-free contact phone number for such support.

#### technical support line can be reached during normal regular business

#### hours or return call a within 15 minutes and 30 minutes after hours, holidays,

#### and weekends.

- Equipment

  - The following is the initial list of monitoring and detection equipment to be maintained by the Supplier and at the sole cost of the Supplier (parts and labor to the extent that maintenance/repairs are required because of normal wear and tear) under the contract:

    - 31-   MultiRAE Detectors including Lite ( Sensors: 10.6 eV PID, O2, LEL, H2S, CO, NH3,

HCN) dependent on monitor setup.

ii.     37-   ToxiRAE Pro with one of the following Sensors (Cl2, NH3, H2S, HCN) dependent on

monitor setup.

iii.   142-  QRAE III (Sensors: O2, LEL, CO, H2S)

iv.    35-  MiniRae 2000 10.6 eV PID until replaced with MiniRae 3000 10.6 eV PID Monitor.

v.      3-  MiniRae Lite 10.6 eV PID until replaced with MiniRAE 3000 10.6 eV Monitor.

vi.      5-   MiniRAE 3000 10.6 eV PID

vii.         -   PRD4 Personal radiation detectors on order not in the field yet.

Will replace Canberra  MRAD Personal Dosimeters

viii.  114 -  Canberra MRAD Dosimeters (both 103’s and 113’s)							        	ix.     45-   Ludlum 14C Radiation Survey Meters with 44-2. 44-9 probes.

x.        2-  Ludlum Model 3 Radiation Survey Meters with 44-9 probe.

xi.     17-   Smith detection HazMat ID Elites need biannual verification with possible software

updates.

xii.      23-   Drager HazMat Kit (Kit Contains)

a.	1 x Accuro Bellows Pump

b.	1 x 3-Meter Extension Hose

c.	1 x Deluxe Tube Opener

d.	1 x Spare Parts Kit

e.	1 x Rubber cap  set (10pk)

f.	1 x Allen Wrench

g.	1 x Air Current Kit

h.	17 x Tube Sets

i.	1 x Polytest (10pk)

ii.	1 x Ethyl Acetate 200-3000ppm, (10pk)

iii.	1 x Perchloroethylene 2-300ppm, (10pk)

iv.	1 x Ammonia .25-3ppm, (10pk)

v.	1 x Acid Test, (10pk)

vi.	1 x Toulene 5-300ppm, (10pk)

vii.	1 x Acetone 100-12000ppm, (10pk)

viii.	1 x Hydrogen Sulfide 5-60ppm, (10pk)

ix.	1 x Hydrocyanic Acid .5-100ppm, (10pk)

x.	1 x Carbon Dioxide .1-6% Vol, (10pk)

xi.	1 x Chlorine .2-30ppm, (10pk)

xii.	1 x Carbon Monoxide 10-3000ppm, (10pk)

xiii.	1 x Hydrocarbons .1-1.3%, (10pk)

xiv.	1 x Ethanol 100-3000ppm, (10pk)

xv.	1 x Trichloroethylene 50-2000ppm, (10pk)

xvi.	1 x Nitrous Fumes, (10pk)

xvii.	1 x Oxygen 5-23% Vol, (10pk)

xiv.	23-  Drager Civil Defense Simultest Kits (Kit Contains)

a.	2 x Accuro bellows pump

b.	2 x 1-meter extension hose with adapter

c.	2 x Simultest set opener

d.	1 x Spare Parts Kit

e.	1 x Laminated Instructions

f.	5 x Civil Defense Simultest Set I

g.	5 x Civil Defense Simultest Set V

xv.	11-  Radseekers

xvi.	  2-  ThermScience Indentifier

All the colorimetric tubes listed above shall be replaced because of damage, used, or expired by the Supplier at the sole cost of the Supplier based on manufacturer expiration dates.

  - Radiation Equipment

    - All radiation equipment must callibrated by a certified radiation laboratory annually and

provided with calibration certificates with all shipping costs to be paid by vendor.

    - All radiation equipment must be verified with known radiation sources on-site during

Bi-annual calibration visits.

  - List of Supplied Equipment

- i.	Supplier shall provide sufficient calibration gases for the duration of the

#### contract per agency for the QRAE III plus 4-gas monitors.

#### ii.	Supplier shall provide sufficient calibration gases for the duration of the

#### contract per agency for the MiniRAE PID.

    - Supplier shall replace any Drager colorimetric measuring tube, (listed in

#### equipment Section D that expires during the term of the contract including any

#### extensions thereto.

- Service and Maintenance Responsibilities

  - The awarded Supplier/Suppliers shall perform (at a minimum) two on-site maintenance visits per agency.  The maintenance shall include the following items.

    - Supplier will schedule each visit with agencies at least 10 days before on-site visit.

    - Supplier will inspect, clean, and calibrate as needed the instruments listed under Equipment

    - Perform repairs at the sole cost of the Supplier on an as needed basis for failures resulting from normal usage of the equipment.

    - Supplier will maintain all service records and provide a copy of those records to each agency and also to the Oklahoma Office of Homeland Security (OKOHS).

    - Supplier will provide a monthly activity report with details of applicable on-site visits, out-sourced activity, shop activity, and supply orders.  If no activity, report will state No Activity

    - If a sensor fails to calibrate, the Supplier shall replace any sensor at the sole cost of the Supplier.

    - Supplier shall provide a no cost loaner unit in the event of equipment failure between service intervals.

    - Any monitor or detector that cannot be serviced/calibrated on site must be replaced by a loaner within twenty (24) hours until service/repairs are completed.  Any loaner that cannot be provided/replaced shall be listed as an exception.

    - Equipment replaced by a loaner must be returned with the same equipment (serial number) once agency equipment is repaired.

    - All agencies shall receive the first of two annual on-site service and maintenance visits within forty (40) days from date contract is awarded.

    - After the first maintenance visit, subsequent scheduled routine maintenance visits will be performed at

    - least 5 months, but no more than 7 months, following the previous visit.