Exhibit 1 SOW

Solicitation 0250000371

SUBJECT:  Request for propane (LP Gas) Contract, approximately 250,000 Gallons per Year.

1.  Request for Propane Contract for Camp Gruber Training Center using the following information.

2.  SCOPE OF SERVICES:

a. Contractor for supply and services will provide storage tanks as stated in operational requirements below. Contractor must be flexible to accommodate varying demand for service directly proportionate to seasonal facility usage.

b. Contractor will have all Tanks on Line and Operational within Forty-Five (45) days from effective date of contract.

3. WHEN SETTING TANKS

a. Do pressure checks in the buildings.

b. Paint tanks, and label with Company name and emergency phone number.

c. Safety inspection of tanks.

d. Insure all gauges are in good working order and within industry standards.

e. Fill tanks to 80% capacity, check for leaks inside and outside of building, and light all pilots.

f. Provide Camp Gruber Facility Engineer with a list of tanks by size, location and serial number.

g. Transfer of fuel from “Exiting” vendor’s tank to new vendor tanks, if agreed upon between both vendors and Facility Engineer.

h. Provide all necessary hardware to connect tanks without interruption of service for more than one hour.

i. Contractor will provide yearly inspection and painting of ALL TANKS, to include faulty gauges, regulators etc.

j. Contractor will complete annual inspection Form 4A for LP gas on all tanks, Government owned tanks will be serviced and painted the same as Contractor owned tanks.

4. In event on contractor change at the end of contract term, Contractor will:

a. Allow transfer of fuel to new customer or reimburse government for the cost of fuel in tanks to within 5% of fuel remaining in tanks.

b. At the end of term, contractor will remove empty tanks immediately after transfer of fuel or the quantity of fuel for reimbursement is certified between contractor and Facility Engineer.

c. No tank shall be removed until a replacement tank has been installed and is serviceable. After disconnection tank will be removed from facility within five (5) days.

d. Upon completion of need for supply or service, contractor will respond within twelve (12) hours, and in emergency situations respond within three (3) hours.

5. Contractor will provide a point of contact for 24-hour service. Upon notification of requirement for new tank or tanks contractor will respond within forty-eight (48) hours with type and size tank requested.

6. OPERATIONAL REQUIREMENTS: Contractor will provide approximately seventy-five (75) serviceable storage tanks ranging in capacity from 500 to 6,000 gallons, complete with appropriate regulators and connections. Buildings 220-222, 221-223, 305 and 906 will require four (4) tanks with the capacity of 3,000 gallons each: buildings 226, 227 and 228 will utilize a common tank with capacity of 4,000 gallons, the ORTC will require three (3) 6000 gallon tanks, all tanks complete with appropriate regulators and connections necessary for connection to respective building. At least one tank will have “Wet Leg”, location of such tank to be determined by the Facility Engineer.

7. Contractor will be directly responsible for environmental damage to Camp Gruber Training Center property occurring from delivery vehicles or facility equipment installed by contractor.

8. Contract period will be from 01 July 2022 to 30 June 2024 with option to renew for two (2) consecutive years.

9. VENDER QUOTE: Vender will charge Camp Gruber Training Center, Oklahoma Military Department for LP gas by a fixed unit consumption margin per gallon over Tulsa Terminal. The Tulsa Terminal price is released every Thursday and to be effective for the following Monday.

10. CONTRACT TERMS:

a. This contract shall be in force until expiration date or until 30 days notice has been given to the State of Oklahoma of its desire to terminate the contract. After the first six months of the contactor may cancel with 30 days written notice.

b. Immediate cancellation shall be administered when violations are found to be an impediment to the function of the agency and detrimental to its cause or when conditions preclude the thirty day notice.

c. Agency will be billed with batched invoices from delivery daily, weekly or monthly.

1. Invoices will reflect, Vendor Name, address, point of contact, phone number, and e-mail address, state contract number, invoice number, Federal Identification Number.

2. Invoice will reflect delivery date of propane, ticket number, number of gallons delivered to each tank with building number(s), cost per gallon, and the total cost of propane delivered.

d. Facility representative located in building #154, Camp Gruber Training Center is required to sign invoice indicating number of gallons delivered to each storage tank.

11. POC for this request will be the Facility Manager at phone: (918) 549-6075.